## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules i.e. the total dispatch of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource-specific.
4) CAISO filled in missing heat rate and emissions rate data by using weighted averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific Time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
4/1/2024 | 1 | 60899 | 12538 | -10289 | 16314 | 5366 | -4404 | 0.27358 | 570 | 0 | 0
4/1/2024 | 2 | 59953 | 12783 | -10495 | 16294 | 5471 | -4492 | 0.27752 | 547 | 91 | 0.16636
4/1/2024 | 3 | 59407 | 12069 | -9730 | 16535 | 5165 | -4164 | 0.284 | 618 | 111 | 0.17961
4/1/2024 | 4 | 60285 | 11893 | -9851 | 16825 | 5090 | -4216 | 0.28397 | 403 | 39 | 0.096774
4/1/2024 | 5 | 62865 | 12322 | -10469 | 17197 | 5274 | -4481 | 0.27798 | 393 | 14 | 0.035623
4/1/2024 | 6 | 67330 | 13349 | -11275 | 17801 | 5713 | -4826 | 0.26926 | 347 | 0 | 0
4/1/2024 | 7 | 72706 | 13756 | -11282 | 18219 | 5888 | -4829 | 0.25642 | 470 | 1 | 0.0021277
4/1/2024 | 8 | 75922 | 12697 | -10546 | 17735 | 5434 | -4514 | 0.23894 | 495 | 8 | 0.016162
4/1/2024 | 9 | 74537 | 10413 | -9010 | 15297 | 4457 | -3856 | 0.20935 | 272 | 0 | 0
4/1/2024 | 10 | 71372 | 10303 | -9317 | 12788 | 4410 | -3988 | 0.18256 | 0 | 0 | 0
4/1/2024 | 11 | 68091 | 10185 | -9710 | 11571 | 4359 | -4156 | 0.17172 | 0 | 0 | 0
4/1/2024 | 12 | 65868 | 10157 | -9896 | 10660 | 4347 | -4236 | 0.16288 | 0 | 0 | 0
4/1/2024 | 13 | 64650 | 10425 | -10345 | 10780 | 4462 | -4428 | 0.16706 | 0 | 0 | 0
4/1/2024 | 14 | 42164 | 7268 | -7117 | 7082 | 3111 | -3046 | 0.1689 | 0 | 0 | 0
4/1/2024 | 15 | 63481 | 10566 | -10343 | 10704 | 4522 | -4427 | 0.16952 | 0 | 0 | 0
4/1/2024 | 16 | 63896 | 10402 | -10099 | 10935 | 4452 | -4323 | 0.17234 | 0 | 0 | 0
4/1/2024 | 17 | 65045 | 9849 | -9154 | 11499 | 4215 | -3918 | 0.17943 | 0 | 0 | 0
4/1/2024 | 18 | 68288 | 9427 | -8296 | 12876 | 4035 | -3551 | 0.19245 | 0 | 0 | 0
4/1/2024 | 19 | 72165 | 11430 | -9977 | 15836 | 4892 | -4270 | 0.22356 | 0 | 0 | 0
4/1/2024 | 20 | 75915 | 12990 | -11242 | 17170 | 5560 | -4811 | 0.23073 | 0 | 0 | 0
4/1/2024 | 21 | 75637 | 12936 | -11181 | 17163 | 5537 | -4786 | 0.23147 | 0 | 0 | 0
4/1/2024 | 22 | 72362 | 12483 | -10565 | 16920 | 5343 | -4522 | 0.23884 | 172 | 0 | 0
4/1/2024 | 23 | 68776 | 12349 | -10567 | 17214 | 5285 | -4523 | 0.25477 | 249 | 0 | 0
4/1/2024 | 24 | 64799 | 12482 | -10459 | 16789 | 5342 | -4477 | 0.26419 | 212 | 0 | 0
4/2/2024 | 1 | 62124 | 13406 | -11159 | 16367 | 5738 | -4776 | 0.26921 | 317 | 0 | 0
4/2/2024 | 2 | 60902 | 13211 | -11087 | 16318 | 5654 | -4745 | 0.27333 | 280 | 6 | 0.021429
4/2/2024 | 3 | 59666 | 13072 | -10906 | 16510 | 5595 | -4668 | 0.28201 | 329 | 25 | 0.075988
4/2/2024 | 4 | 59749 | 13019 | -10543 | 16879 | 5572 | -4513 | 0.28828 | 275 | 14 | 0.050909
4/2/2024 | 5 | 62252 | 12928 | -10875 | 17257 | 5533 | -4654 | 0.28203 | 89 | 0 | 0
4/2/2024 | 6 | 66626 | 13530 | -11020 | 17932 | 5791 | -4716 | 0.27492 | 363 | 0 | 0
4/2/2024 | 7 | 71808 | 12795 | -10185 | 18335 | 5476 | -4359 | 0.26139 | 687 | 34 | 0.049491
4/2/2024 | 8 | 73421 | 11682 | -9345 | 16455 | 5000 | -4000 | 0.2304 | 414 | 21 | 0.050725
4/2/2024 | 9 | 71302 | 9716 | -8401 | 13391 | 4158 | -3595 | 0.19216 | 0 | 0 | 0
4/2/2024 | 10 | 68387 | 10133 | -9242 | 11704 | 4337 | -3955 | 0.17446 | 0 | 0 | 0
4/2/2024 | 11 | 65322 | 9852 | -9411 | 11410 | 4217 | -4028 | 0.17638 | 0 | 0 | 0
4/2/2024 | 12 | 62911 | 10090 | -9922 | 10731 | 4319 | -4246 | 0.17128 | 0 | 0 | 0
4/2/2024 | 13 | 61660 | 10638 | -9721 | 10557 | 4553 | -4160 | 0.17498 | 0 | 0 | 0
4/2/2024 | 14 | 61174 | 10899 | -9899 | 10625 | 4665 | -4237 | 0.17778 | 0 | 0 | 0
4/2/2024 | 15 | 60980 | 10950 | -9990 | 10582 | 4687 | -4276 | 0.17748 | 0 | 0 | 0
4/2/2024 | 16 | 62327 | 10946 | -10271 | 10649 | 4685 | -4396 | 0.17361 | 0 | 0 | 0
4/2/2024 | 17 | 63948 | 11045 | -10077 | 11267 | 4727 | -4313 | 0.17994 | 0 | 0 | 0
4/2/2024 | 18 | 67300 | 11181 | -9120 | 12583 | 4786 | -3903 | 0.19414 | 0 | 0 | 0
4/2/2024 | 19 | 71982 | 13282 | -10606 | 16334 | 5685 | -4539 | 0.23413 | 204 | 0 | 0
4/2/2024 | 20 | 75272 | 15446 | -12435 | 17874 | 6611 | -5322 | 0.24479 | 5 | 0 | 0
4/2/2024 | 21 | 74278 | 16047 | -12835 | 17518 | 6868 | -5493 | 0.24381 | 267 | 0 | 0
4/2/2024 | 22 | 71041 | 15689 | -12741 | 17031 | 6715 | -5453 | 0.24724 | 575 | 0 | 0
4/2/2024 | 23 | 67338 | 15016 | -12546 | 16341 | 6427 | -5369 | 0.24924 | 384 | 2 | 0.0052083
4/2/2024 | 24 | 63896 | 14411 | -12284 | 15380 | 6168 | -5257 | 0.24675 | 484 | 29 | 0.059917
4/3/2024 | 1 | 61614 | 15047 | -13040 | 15088 | 6440 | -5581 | 0.25066 | 442 | 1 | 0.0022624
4/3/2024 | 2 | 60151 | 15210 | -13280 | 14553 | 6510 | -5684 | 0.24772 | 509 | 0 | 0
4/3/2024 | 3 | 59173 | 14990 | -13046 | 14179 | 6416 | -5584 | 0.24561 | 484 | 0 | 0
4/3/2024 | 4 | 59338 | 15148 | -13114 | 14310 | 6484 | -5613 | 0.24736 | 495 | 0 | 0
4/3/2024 | 5 | 61534 | 15211 | -13265 | 15033 | 6510 | -5677 | 0.24994 | 170 | 0 | 0
4/3/2024 | 6 | 65766 | 15794 | -13656 | 15688 | 6760 | -5845 | 0.24451 | 27 | 0 | 0
4/3/2024 | 7 | 71540 | 14009 | -12227 | 16585 | 5996 | -5233 | 0.2366 | 44 | 0 | 0
4/3/2024 | 8 | 73844 | 12430 | -10858 | 15018 | 5320 | -4647 | 0.20806 | 448 | 38 | 0.084821
4/3/2024 | 9 | 72921 | 10998 | -10089 | 12423 | 4707 | -4318 | 0.17353 | 0 | 0 | 0
4/3/2024 | 10 | 71106 | 10543 | -10020 | 11691 | 4512 | -4289 | 0.16633 | 0 | 0 | 0
4/3/2024 | 11 | 68482 | 10726 | -10465 | 11369 | 4591 | -4479 | 0.16701 | 0 | 0 | 0
4/3/2024 | 12 | 66215 | 10390 | -10216 | 11170 | 4447 | -4372 | 0.16938 | 13 | 0 | 0
4/3/2024 | 13 | 64759 | 10463 | -10116 | 11192 | 4478 | -4330 | 0.17418 | 0 | 0 | 0
4/3/2024 | 14 | 64216 | 10520 | -10050 | 11242 | 4502 | -4301 | 0.1769 | 0 | 0 | 0
4/3/2024 | 15 | 65046 | 10248 | -9972 | 11317 | 4386 | -4268 | 0.17506 | 0 | 0 | 0
4/3/2024 | 16 | 66681 | 10119 | -9918 | 11541 | 4331 | -4245 | 0.17384 | 0 | 0 | 0
4/3/2024 | 17 | 69852 | 9826 | -9987 | 12278 | 4206 | -4274 | 0.1752 | 0 | 0 | 0
4/3/2024 | 18 | 73556 | 9738 | -9691 | 14062 | 4168 | -4148 | 0.19132 | 0 | 0 | 0
4/3/2024 | 19 | 76493 | 11112 | -10337 | 17457 | 4756 | -4424 | 0.23022 | 95 | 0 | 0
4/3/2024 | 20 | 79399 | 11689 | -11083 | 19056 | 5003 | -4744 | 0.24142 | 311 | 0 | 0
4/3/2024 | 21 | 79515 | 11469 | -11425 | 19111 | 4909 | -4890 | 0.24045 | 471 | 0 | 0
4/3/2024 | 22 | 76398 | 11282 | -11158 | 18193 | 4829 | -4776 | 0.23844 | 521 | 19 | 0.036468
4/3/2024 | 23 | 71826 | 11453 | -10861 | 18471 | 4902 | -4648 | 0.25857 | 148 | 0 | 0
4/3/2024 | 24 | 66922 | 11869 | -10708 | 17985 | 5080 | -4583 | 0.27146 | 501 | 0 | 0
4/4/2024 | 1 | 64894 | 10820 | -9945 | 18171 | 4631 | -4256 | 0.28199 | 339 | 0 | 0
4/4/2024 | 2 | 63558 | 10669 | -10023 | 17892 | 4566 | -4290 | 0.28297 | 31 | 0 | 0
4/4/2024 | 3 | 62271 | 10603 | -9831 | 17490 | 4538 | -4208 | 0.28266 | 0 | 0 | 0
4/4/2024 | 4 | 62363 | 10553 | -9690 | 17390 | 4517 | -4147 | 0.2809 | 4 | 0 | 0
4/4/2024 | 5 | 64283 | 11035 | -10042 | 18113 | 4723 | -4298 | 0.28399 | 29 | 0 | 0
4/4/2024 | 6 | 69024 | 11266 | -10423 | 18585 | 4822 | -4461 | 0.27117 | 107 | 0 | 0
4/4/2024 | 7 | 74889 | 11100 | -10332 | 18858 | 4751 | -4422 | 0.25361 | 573 | 40 | 0.069808
4/4/2024 | 8 | 78037 | 10167 | -9631 | 16986 | 4352 | -4122 | 0.21911 | 289 | 0 | 0
4/4/2024 | 9 | 79057 | 9118 | -9314 | 15073 | 3903 | -3986 | 0.19008 | 178 | 0 | 0
4/4/2024 | 10 | 77362 | 9244 | -9342 | 14027 | 3957 | -3999 | 0.181 | 0 | 0 | 0
4/4/2024 | 11 | 77081 | 9484 | -9974 | 13747 | 4059 | -4269 | 0.17674 | 221 | 0 | 0
4/4/2024 | 12 | 75075 | 9684 | -10245 | 13855 | 4145 | -4385 | 0.18272 | 424 | 8 | 0.018868
4/4/2024 | 13 | 73314 | 9867 | -10370 | 13444 | 4223 | -4438 | 0.18169 | 85 | 0 | 0
4/4/2024 | 14 | 72668 | 10235 | -10901 | 13530 | 4381 | -4666 | 0.18395 | 123 | 0 | 0
4/4/2024 | 15 | 72749 | 10071 | -10920 | 13285 | 4310 | -4674 | 0.17971 | 0 | 0 | 0
4/4/2024 | 16 | 73098 | 9681 | -10371 | 13438 | 4144 | -4439 | 0.18151 | 0 | 0 | 0
4/4/2024 | 17 | 73765 | 9825 | -10006 | 13790 | 4205 | -4282 | 0.18636 | 0 | 0 | 0
4/4/2024 | 18 | 76106 | 10172 | -9405 | 14919 | 4354 | -4025 | 0.19835 | 0 | 0 | 0
4/4/2024 | 19 | 77889 | 11771 | -10511 | 17708 | 5038 | -4499 | 0.23054 | 42 | 0 | 0
4/4/2024 | 20 | 81188 | 12680 | -11504 | 18757 | 5427 | -4924 | 0.23384 | 180 | 0 | 0
4/4/2024 | 21 | 80420 | 13076 | -11997 | 18509 | 5597 | -5135 | 0.23278 | 580 | 69 | 0.11897
4/4/2024 | 22 | 77632 | 12828 | -11721 | 17922 | 5490 | -5017 | 0.23362 | 774 | 143 | 0.18475
4/4/2024 | 23 | 74015 | 12907 | -11911 | 17752 | 5524 | -5098 | 0.24234 | 914 | 120 | 0.13129
4/4/2024 | 24 | 70067 | 12651 | -11619 | 17655 | 5415 | -4973 | 0.25453 | 1001 | 213 | 0.21279
4/5/2024 | 1 | 67441 | 13881 | -12806 | 16693 | 5941 | -5481 | 0.25035 | 612 | 73 | 0.11928
4/5/2024 | 2 | 65536 | 14329 | -13250 | 16604 | 6133 | -5671 | 0.25619 | 379 | 7 | 0.01847
4/5/2024 | 3 | 64210 | 14314 | -13277 | 16431 | 6127 | -5682 | 0.25865 | 326 | 3 | 0.0092025
4/5/2024 | 4 | 64165 | 14079 | -13065 | 16421 | 6026 | -5592 | 0.2586 | 301 | 2 | 0.0066445
4/5/2024 | 5 | 66157 | 14230 | -13411 | 16625 | 6090 | -5740 | 0.25345 | 410 | 28 | 0.068293
4/5/2024 | 6 | 70708 | 14411 | -13617 | 16881 | 6168 | -5828 | 0.24085 | 519 | 25 | 0.04817
4/5/2024 | 7 | 75646 | 13931 | -12920 | 17582 | 5962 | -5530 | 0.23499 | 1038 | 221 | 0.21291
4/5/2024 | 8 | 79170 | 12139 | -11466 | 16394 | 5195 | -4907 | 0.20894 | 1449 | 369 | 0.25466
4/5/2024 | 9 | 79742 | 10780 | -10882 | 14266 | 4614 | -4657 | 0.17859 | 491 | 0 | 0
4/5/2024 | 10 | 78322 | 10815 | -11240 | 12778 | 4629 | -4811 | 0.1617 | 7 | 0 | 0
4/5/2024 | 11 | 76521 | 10755 | -11485 | 12116 | 4603 | -4916 | 0.15573 | 520 | 53 | 0.10192
4/5/2024 | 12 | 74017 | 10696 | -11729 | 12090 | 4578 | -5020 | 0.1596 | 405 | 7 | 0.017284
4/5/2024 | 13 | 72658 | 10517 | -11627 | 11797 | 4501 | -4976 | 0.15824 | 357 | 1 | 0.0028011
4/5/2024 | 14 | 71023 | 10796 | -11712 | 11579 | 4621 | -5013 | 0.15957 | 332 | 0 | 0
4/5/2024 | 15 | 70927 | 10612 | -11185 | 11897 | 4542 | -4787 | 0.16562 | 3 | 0 | 0
4/5/2024 | 16 | 69494 | 10715 | -11110 | 11897 | 4586 | -4755 | 0.16973 | 0 | 0 | 0
4/5/2024 | 17 | 69732 | 11136 | -11146 | 12386 | 4766 | -4770 | 0.17759 | 5 | 0 | 0
4/5/2024 | 18 | 71969 | 11593 | -10915 | 13497 | 4962 | -4672 | 0.18978 | 0 | 0 | 0
4/5/2024 | 19 | 74236 | 13713 | -12670 | 15166 | 5869 | -5423 | 0.20739 | 0 | 0 | 0
4/5/2024 | 20 | 77034 | 15128 | -13839 | 16505 | 6475 | -5923 | 0.21778 | 10 | 0 | 0
4/5/2024 | 21 | 77402 | 15436 | -13871 | 16790 | 6607 | -5937 | 0.22111 | 292 | 0 | 0
4/5/2024 | 22 | 76060 | 14730 | -13407 | 16931 | 6305 | -5738 | 0.22612 | 134 | 0 | 0
4/5/2024 | 23 | 72912 | 15087 | -13741 | 16651 | 6457 | -5881 | 0.23199 | 0 | 0 | 0
4/5/2024 | 24 | 69578 | 15146 | -13525 | 16665 | 6483 | -5789 | 0.24381 | 292 | 24 | 0.082192
4/6/2024 | 1 | 66749 | 14848 | -12935 | 16074 | 6355 | -5536 | 0.24603 | 480 | 46 | 0.095833
4/6/2024 | 2 | 65157 | 14518 | -12839 | 15664 | 6214 | -5495 | 0.24512 | 454 | 2 | 0.0044053
4/6/2024 | 3 | 63982 | 14665 | -12859 | 15055 | 6277 | -5504 | 0.24059 | 545 | 23 | 0.042202
4/6/2024 | 4 | 63609 | 14588 | -12849 | 14138 | 6244 | -5500 | 0.22773 | 335 | 2 | 0.0059701
4/6/2024 | 5 | 64823 | 14567 | -12903 | 14275 | 6235 | -5523 | 0.22541 | 240 | 0 | 0
4/6/2024 | 6 | 67238 | 14665 | -12953 | 14556 | 6277 | -5544 | 0.22174 | 912 | 160 | 0.17544
4/6/2024 | 7 | 69676 | 13148 | -11261 | 14915 | 5627 | -4820 | 0.21969 | 1928 | 603 | 0.31276
4/6/2024 | 8 | 71045 | 11183 | -9625 | 12784 | 4786 | -4119 | 0.18527 | 468 | 84 | 0.17949
4/6/2024 | 9 | 70433 | 10461 | -9940 | 10466 | 4477 | -4254 | 0.15065 | 0 | 0 | 0
4/6/2024 | 10 | 68350 | 10603 | -10614 | 9531 | 4538 | -4543 | 0.13939 | 0 | 0 | 0
4/6/2024 | 11 | 65577 | 10826 | -10796 | 9152 | 4633 | -4621 | 0.13968 | 0 | 0 | 0
4/6/2024 | 12 | 63619 | 10737 | -10509 | 8940 | 4595 | -4498 | 0.14154 | 0 | 0 | 0
4/6/2024 | 13 | 61864 | 10914 | -10677 | 8857 | 4671 | -4570 | 0.14425 | 0 | 0 | 0
4/6/2024 | 14 | 60872 | 11106 | -11150 | 8928 | 4753 | -4772 | 0.14646 | 0 | 0 | 0
4/6/2024 | 15 | 60005 | 11540 | -11157 | 8958 | 4939 | -4775 | 0.15106 | 0 | 0 | 0
4/6/2024 | 16 | 60107 | 11167 | -10790 | 9104 | 4779 | -4618 | 0.15318 | 0 | 0 | 0
4/6/2024 | 17 | 62807 | 11154 | -10772 | 9960 | 4774 | -4610 | 0.16022 | 0 | 0 | 0
4/6/2024 | 18 | 66151 | 10412 | -9354 | 10896 | 4456 | -4004 | 0.16885 | 0 | 0 | 0
4/6/2024 | 19 | 69536 | 12092 | -10260 | 12980 | 5175 | -4391 | 0.19286 | 145 | 3 | 0.02069
4/6/2024 | 20 | 73267 | 12605 | -10633 | 14526 | 5395 | -4551 | 0.20428 | 181 | 21 | 0.11602
4/6/2024 | 21 | 73508 | 12908 | -11084 | 14823 | 5524 | -4744 | 0.20712 | 486 | 146 | 0.30041
4/6/2024 | 22 | 71785 | 12713 | -10966 | 14834 | 5441 | -4693 | 0.21191 | 706 | 205 | 0.29037
4/6/2024 | 23 | 69542 | 14013 | -12544 | 14417 | 5997 | -5369 | 0.21187 | 218 | 1 | 0.0045872
4/6/2024 | 24 | 66316 | 13708 | -12073 | 14666 | 5867 | -5167 | 0.22613 | 445 | 39 | 0.08764
4/7/2024 | 1 | 53667 | 10006 | -8774 | 12197 | 4283 | -3755 | 0.23179 | 714 | 157 | 0.21989
4/7/2024 | 2 | 63579 | 11612 | -10493 | 14497 | 4970 | -4491 | 0.23148 | 720 | 137 | 0.19028
4/7/2024 | 3 | 62315 | 11699 | -10396 | 14528 | 5007 | -4450 | 0.23712 | 579 | 100 | 0.17271
4/7/2024 | 4 | 62050 | 11717 | -10355 | 14695 | 5015 | -4432 | 0.24093 | 683 | 137 | 0.20059
4/7/2024 | 5 | 63013 | 12369 | -11144 | 14701 | 5294 | -4770 | 0.23701 | 798 | 112 | 0.14035
4/7/2024 | 6 | 64782 | 11921 | -10892 | 14744 | 5102 | -4662 | 0.23072 | 483 | 60 | 0.12422
4/7/2024 | 7 | 67077 | 11306 | -10377 | 14485 | 4839 | -4441 | 0.21885 | 441 | 5 | 0.011338
4/7/2024 | 8 | 68089 | 10049 | -9408 | 12301 | 4301 | -4027 | 0.18296 | 646 | 6 | 0.0092879
4/7/2024 | 9 | 67638 | 10394 | -10743 | 10402 | 4449 | -4598 | 0.15237 | 2 | 0 | 0
4/7/2024 | 10 | 65405 | 11177 | -11715 | 9590 | 4784 | -5014 | 0.1443 | 0 | 0 | 0
4/7/2024 | 11 | 62888 | 11230 | -11989 | 9157 | 4806 | -5131 | 0.14216 | 0 | 0 | 0
4/7/2024 | 12 | 61260 | 11248 | -11929 | 9076 | 4814 | -5106 | 0.145 | 0 | 0 | 0
4/7/2024 | 13 | 59494 | 11629 | -12107 | 9147 | 4977 | -5182 | 0.15152 | 0 | 0 | 0
4/7/2024 | 14 | 58615 | 11997 | -12459 | 9104 | 5135 | -5332 | 0.15316 | 0 | 0 | 0
4/7/2024 | 15 | 58869 | 11844 | -12398 | 9112 | 5069 | -5306 | 0.15219 | 0 | 0 | 0
4/7/2024 | 16 | 60831 | 11828 | -12569 | 9613 | 5062 | -5380 | 0.15468 | 0 | 0 | 0
4/7/2024 | 17 | 64084 | 11651 | -12550 | 9813 | 4986 | -5371 | 0.14921 | 0 | 0 | 0
4/7/2024 | 18 | 66968 | 11312 | -11380 | 11221 | 4842 | -4871 | 0.16729 | 0 | 0 | 0
4/7/2024 | 19 | 70312 | 11784 | -10786 | 13620 | 5044 | -4616 | 0.197 | 0 | 0 | 0
4/7/2024 | 20 | 74213 | 13057 | -11874 | 15379 | 5589 | -5082 | 0.2107 | 0 | 0 | 0
4/7/2024 | 21 | 74190 | 13982 | -12304 | 16591 | 5984 | -5266 | 0.22815 | 104 | 0 | 0
4/7/2024 | 22 | 71790 | 13779 | -11955 | 16099 | 5897 | -5117 | 0.22929 | 380 | 0 | 0
4/7/2024 | 23 | 67464 | 12774 | -10620 | 15315 | 5467 | -4545 | 0.23323 | 245 | 0 | 0
4/7/2024 | 24 | 63354 | 12576 | -10217 | 15147 | 5382 | -4373 | 0.24586 | 370 | 40 | 0.10811
4/8/2024 | 1 | 61132 | 12926 | -10418 | 15174 | 5532 | -4459 | 0.2553 | 381 | 3 | 0.007874
4/8/2024 | 2 | 59979 | 12963 | -10545 | 15012 | 5548 | -4513 | 0.25718 | 339 | 8 | 0.023599
4/8/2024 | 3 | 59482 | 12476 | -10017 | 15147 | 5340 | -4287 | 0.26154 | 380 | 13 | 0.034211
4/8/2024 | 4 | 60364 | 12351 | -9921 | 14926 | 5286 | -4246 | 0.25426 | 278 | 13 | 0.046763
4/8/2024 | 5 | 62599 | 13320 | -10921 | 15578 | 5701 | -4674 | 0.25547 | 279 | 0 | 0
4/8/2024 | 6 | 67745 | 13594 | -11229 | 16440 | 5818 | -4806 | 0.24892 | 694 | 37 | 0.053314
4/8/2024 | 7 | 73872 | 12583 | -10098 | 17327 | 5386 | -4322 | 0.24086 | 1787 | 440 | 0.24622
4/8/2024 | 8 | 77127 | 11430 | -9048 | 15996 | 4892 | -3873 | 0.214 | 1780 | 473 | 0.26573
4/8/2024 | 9 | 74576 | 10772 | -8771 | 12569 | 4610 | -3754 | 0.17531 | 152 | 12 | 0.078947
4/8/2024 | 10 | 71688 | 10451 | -8913 | 11574 | 4473 | -3815 | 0.16704 | 10 | 0 | 0
4/8/2024 | 11 | 71200 | 10107 | -9094 | 11686 | 4326 | -3892 | 0.16784 | 233 | 0 | 0
4/8/2024 | 12 | 72766 | 11007 | -9991 | 12272 | 4711 | -4276 | 0.17222 | 666 | 43 | 0.064565
4/8/2024 | 13 | 65834 | 11728 | -11653 | 10491 | 5020 | -4988 | 0.15966 | 0 | 0 | 0
4/8/2024 | 14 | 65168 | 12107 | -12052 | 10082 | 5182 | -5158 | 0.15495 | 20 | 0 | 0
4/8/2024 | 15 | 64801 | 12368 | -12129 | 10000 | 5293 | -5191 | 0.15532 | 88 | 0 | 0
4/8/2024 | 16 | 66481 | 12301 | -11934 | 10609 | 5265 | -5108 | 0.16105 | 0 | 0 | 0
4/8/2024 | 17 | 69276 | 12134 | -11587 | 12163 | 5193 | -4959 | 0.17755 | 0 | 0 | 0
4/8/2024 | 18 | 71310 | 12484 | -10888 | 14245 | 5343 | -4660 | 0.20476 | 0 | 0 | 0
4/8/2024 | 19 | 74110 | 13918 | -11602 | 14907 | 5957 | -4966 | 0.20802 | 0 | 0 | 0
4/8/2024 | 20 | 77362 | 14551 | -12227 | 16933 | 6228 | -5233 | 0.22498 | 0 | 0 | 0
4/8/2024 | 21 | 77085 | 14271 | -12078 | 17290 | 6108 | -5169 | 0.22994 | 406 | 0 | 0
4/8/2024 | 22 | 73764 | 14107 | -11754 | 16763 | 6038 | -5031 | 0.23346 | 468 | 3 | 0.0064103
4/8/2024 | 23 | 69826 | 13745 | -11625 | 16513 | 5883 | -4975 | 0.24214 | 417 | 0 | 0
4/8/2024 | 24 | 66067 | 13798 | -11756 | 16142 | 5906 | -5032 | 0.24983 | 458 | 33 | 0.072052
4/9/2024 | 1 | 63983 | 14408 | -12645 | 16039 | 6167 | -5412 | 0.25544 | 153 | 0 | 0
4/9/2024 | 2 | 62411 | 13810 | -12298 | 15906 | 5911 | -5263 | 0.25897 | 444 | 21 | 0.047297
4/9/2024 | 3 | 61629 | 14461 | -12879 | 15921 | 6189 | -5512 | 0.26258 | 478 | 7 | 0.014644
4/9/2024 | 4 | 61824 | 14798 | -13105 | 16094 | 6333 | -5609 | 0.26478 | 411 | 2 | 0.0048662
4/9/2024 | 5 | 63970 | 15246 | -13583 | 15847 | 6525 | -5813 | 0.2523 | 297 | 1 | 0.003367
4/9/2024 | 6 | 68459 | 15359 | -13617 | 16143 | 6574 | -5828 | 0.24058 | 220 | 6 | 0.027273
4/9/2024 | 7 | 73760 | 15293 | -13337 | 17111 | 6545 | -5708 | 0.23704 | 706 | 3 | 0.0042493
4/9/2024 | 8 | 75499 | 13794 | -12206 | 14934 | 5904 | -5224 | 0.20255 | 290 | 0 | 0
4/9/2024 | 9 | 73311 | 11803 | -11279 | 12570 | 5052 | -4827 | 0.17329 | 0 | 0 | 0
4/9/2024 | 10 | 70124 | 11854 | -11951 | 11339 | 5074 | -5115 | 0.16134 | 0 | 0 | 0
4/9/2024 | 11 | 67175 | 12381 | -12437 | 10280 | 5299 | -5323 | 0.1528 | 0 | 0 | 0
4/9/2024 | 12 | 64918 | 12559 | -12710 | 10023 | 5375 | -5440 | 0.15375 | 0 | 0 | 0
4/9/2024 | 13 | 63948 | 12727 | -12751 | 10051 | 5447 | -5457 | 0.15708 | 0 | 0 | 0
4/9/2024 | 14 | 63806 | 12145 | -12359 | 10031 | 5198 | -5289 | 0.15631 | 0 | 0 | 0
4/9/2024 | 15 | 63699 | 12176 | -12375 | 10018 | 5212 | -5297 | 0.15643 | 0 | 0 | 0
4/9/2024 | 16 | 64755 | 12494 | -12688 | 10013 | 5347 | -5430 | 0.15381 | 0 | 0 | 0
4/9/2024 | 17 | 67713 | 13149 | -13251 | 10625 | 5628 | -5671 | 0.15651 | 0 | 0 | 0
4/9/2024 | 18 | 71054 | 12830 | -11431 | 12194 | 5491 | -4892 | 0.17657 | 0 | 0 | 0
4/9/2024 | 19 | 73387 | 15499 | -13212 | 15589 | 6634 | -5655 | 0.21894 | 8 | 0 | 0
4/9/2024 | 20 | 75716 | 15735 | -13428 | 17425 | 6735 | -5747 | 0.23599 | 235 | 0 | 0
4/9/2024 | 21 | 75376 | 16111 | -13313 | 17474 | 6896 | -5698 | 0.23885 | 380 | 0 | 0
4/9/2024 | 22 | 72516 | 15096 | -12333 | 17014 | 6461 | -5278 | 0.24173 | 415 | 1 | 0.0024096
4/9/2024 | 23 | 68362 | 15280 | -12623 | 16545 | 6540 | -5403 | 0.24898 | 273 | 0 | 0
4/9/2024 | 24 | 64926 | 14311 | -12064 | 16917 | 6125 | -5163 | 0.26616 | 68 | 0 | 0
4/10/2024 | 1 | 62032 | 12073 | -9921 | 17355 | 5167 | -4246 | 0.28474 | 528 | 22 | 0.041667
4/10/2024 | 2 | 61476 | 11338 | -9563 | 17761 | 4853 | -4093 | 0.29282 | 663 | 14 | 0.021116
4/10/2024 | 3 | 60745 | 11414 | -9554 | 18053 | 4885 | -4089 | 0.30108 | 552 | 0 | 0
4/10/2024 | 4 | 60783 | 11335 | -9445 | 17978 | 4851 | -4043 | 0.29975 | 408 | 0 | 0
4/10/2024 | 5 | 62653 | 11809 | -9645 | 18147 | 5054 | -4128 | 0.29426 | 313 | 7 | 0.022364
4/10/2024 | 6 | 67443 | 12069 | -10006 | 18488 | 5165 | -4283 | 0.27868 | 132 | 0 | 0
4/10/2024 | 7 | 73156 | 11128 | -8935 | 18881 | 4763 | -3824 | 0.26304 | 610 | 83 | 0.13607
4/10/2024 | 8 | 75457 | 10366 | -8492 | 16836 | 4437 | -3635 | 0.22808 | 525 | 95 | 0.18095
4/10/2024 | 9 | 73232 | 9633 | -8881 | 13322 | 4123 | -3801 | 0.18442 | 137 | 0 | 0
4/10/2024 | 10 | 70732 | 10993 | -10607 | 12380 | 4705 | -4540 | 0.1764 | 81 | 0 | 0
4/10/2024 | 11 | 67559 | 10929 | -10514 | 11759 | 4678 | -4500 | 0.17561 | 0 | 0 | 0
4/10/2024 | 12 | 65958 | 10978 | -10676 | 11392 | 4699 | -4569 | 0.17389 | 0 | 0 | 0
4/10/2024 | 13 | 64640 | 10657 | -10230 | 11344 | 4561 | -4378 | 0.17716 | 0 | 0 | 0
4/10/2024 | 14 | 64371 | 10354 | -9680 | 11019 | 4431 | -4143 | 0.17383 | 0 | 0 | 0
4/10/2024 | 15 | 65064 | 10532 | -9807 | 10986 | 4508 | -4197 | 0.17172 | 0 | 0 | 0
4/10/2024 | 16 | 66830 | 10982 | -10448 | 11529 | 4700 | -4472 | 0.17453 | 0 | 0 | 0
4/10/2024 | 17 | 70265 | 10708 | -10092 | 12698 | 4583 | -4319 | 0.18287 | 0 | 0 | 0
4/10/2024 | 18 | 73471 | 9816 | -8285 | 15085 | 4201 | -3546 | 0.20986 | 47 | 0 | 0
4/10/2024 | 19 | 75894 | 11698 | -9866 | 19003 | 5007 | -4223 | 0.25457 | 330 | 3 | 0.0090909
4/10/2024 | 20 | 76898 | 12098 | -10035 | 20776 | 5178 | -4295 | 0.2743 | 740 | 110 | 0.14865
4/10/2024 | 21 | 76897 | 11549 | -9488 | 21226 | 4943 | -4061 | 0.28 | 795 | 119 | 0.14969
4/10/2024 | 22 | 73249 | 11518 | -9290 | 20467 | 4930 | -3976 | 0.28381 | 1353 | 403 | 0.29786
4/10/2024 | 23 | 68763 | 12150 | -10020 | 20041 | 5200 | -4288 | 0.29556 | 957 | 55 | 0.057471
4/10/2024 | 24 | 64639 | 11967 | -9865 | 19743 | 5122 | -4222 | 0.3093 | 1440 | 212 | 0.14722
4/11/2024 | 1 | 62392 | 11824 | -9661 | 19519 | 5061 | -4135 | 0.31671 | 1159 | 168 | 0.14495
4/11/2024 | 2 | 60356 | 11787 | -9473 | 19190 | 5045 | -4054 | 0.32202 | 359 | 3 | 0.0083565
4/11/2024 | 3 | 59439 | 11685 | -9403 | 19032 | 5001 | -4024 | 0.32418 | 217 | 0 | 0
4/11/2024 | 4 | 59945 | 11586 | -9535 | 18737 | 4959 | -4081 | 0.31639 | 18 | 0 | 0
4/11/2024 | 5 | 62001 | 11960 | -10002 | 19102 | 5119 | -4281 | 0.31176 | 58 | 0 | 0
4/11/2024 | 6 | 66406 | 12976 | -11179 | 19869 | 5554 | -4785 | 0.3026 | 605 | 6 | 0.0099174
4/11/2024 | 7 | 71310 | 11480 | -9250 | 20134 | 4913 | -3959 | 0.28676 | 1656 | 341 | 0.20592
4/11/2024 | 8 | 74136 | 10493 | -8834 | 17239 | 4491 | -3781 | 0.23681 | 1239 | 275 | 0.22195
4/11/2024 | 9 | 73756 | 10017 | -9067 | 13980 | 4287 | -3881 | 0.19257 | 123 | 0 | 0
4/11/2024 | 10 | 71749 | 10008 | -9533 | 12654 | 4283 | -4080 | 0.17802 | 0 | 0 | 0
4/11/2024 | 11 | 69006 | 10432 | -9969 | 11649 | 4465 | -4267 | 0.17054 | 0 | 0 | 0
4/11/2024 | 12 | 67556 | 10650 | -10114 | 11619 | 4558 | -4329 | 0.174 | 0 | 0 | 0
4/11/2024 | 13 | 66893 | 10773 | -10029 | 11565 | 4611 | -4292 | 0.1757 | 0 | 0 | 0
4/11/2024 | 14 | 68037 | 11127 | -10412 | 11747 | 4762 | -4457 | 0.1753 | 0 | 0 | 0
4/11/2024 | 15 | 70001 | 11233 | -10595 | 12476 | 4808 | -4535 | 0.18048 | 0 | 0 | 0
4/11/2024 | 16 | 72213 | 11468 | -11030 | 13635 | 4908 | -4721 | 0.19025 | 0 | 0 | 0
4/11/2024 | 17 | 75394 | 11046 | -10548 | 14964 | 4728 | -4515 | 0.19998 | 131 | 0 | 0
4/11/2024 | 18 | 78189 | 10522 | -9656 | 17450 | 4503 | -4133 | 0.22541 | 12 | 0 | 0
4/11/2024 | 19 | 80216 | 12678 | -11537 | 21277 | 5426 | -4938 | 0.26752 | 87 | 0 | 0
4/11/2024 | 20 | 80866 | 14206 | -12587 | 22682 | 6080 | -5387 | 0.28338 | 722 | 41 | 0.056787
4/11/2024 | 21 | 78877 | 13566 | -11059 | 21992 | 5806 | -4733 | 0.28341 | 1279 | 303 | 0.2369
4/11/2024 | 22 | 74777 | 13211 | -10346 | 20811 | 5654 | -4428 | 0.28383 | 1920 | 595 | 0.3099
4/11/2024 | 23 | 70591 | 14559 | -11994 | 20272 | 6231 | -5134 | 0.2921 | 1298 | 216 | 0.16641
4/11/2024 | 24 | 66136 | 13588 | -11213 | 19655 | 5816 | -4799 | 0.30173 | 1445 | 391 | 0.27059
4/12/2024 | 1 | 62959 | 13305 | -10765 | 18549 | 5694 | -4608 | 0.29978 | 721 | 151 | 0.20943
4/12/2024 | 2 | 60877 | 13378 | -10536 | 18025 | 5726 | -4509 | 0.30198 | 588 | 77 | 0.13095
4/12/2024 | 3 | 59319 | 13288 | -10340 | 17752 | 5687 | -4425 | 0.30536 | 870 | 144 | 0.16552
4/12/2024 | 4 | 59379 | 12976 | -10155 | 17908 | 5554 | -4346 | 0.30733 | 1018 | 180 | 0.17682
4/12/2024 | 5 | 61342 | 13177 | -10473 | 18911 | 5640 | -4482 | 0.31335 | 795 | 71 | 0.089308
4/12/2024 | 6 | 65103 | 13402 | -10482 | 19785 | 5736 | -4486 | 0.30923 | 743 | 142 | 0.19112
4/12/2024 | 7 | 70535 | 11862 | -9301 | 20653 | 5077 | -3981 | 0.29754 | 1179 | 215 | 0.18236
4/12/2024 | 8 | 73132 | 10044 | -8157 | 17603 | 4299 | -3491 | 0.24542 | 733 | 176 | 0.24011
4/12/2024 | 9 | 74364 | 11052 | -10303 | 13858 | 4730 | -4410 | 0.18876 | 0 | 0 | 0
4/12/2024 | 10 | 73697 | 11217 | -11376 | 12821 | 4801 | -4869 | 0.17342 | 0 | 0 | 0
4/12/2024 | 11 | 72087 | 11263 | -11533 | 12031 | 4821 | -4936 | 0.16592 | 0 | 0 | 0
4/12/2024 | 12 | 70679 | 11207 | -11981 | 12129 | 4797 | -5128 | 0.16877 | 0 | 0 | 0
4/12/2024 | 13 | 69771 | 11842 | -12449 | 11878 | 5068 | -5328 | 0.16798 | 0 | 0 | 0
4/12/2024 | 14 | 69188 | 11813 | -12365 | 11569 | 5056 | -5292 | 0.16512 | 0 | 0 | 0
4/12/2024 | 15 | 70155 | 12725 | -13638 | 12058 | 5446 | -5837 | 0.1685 | 0 | 0 | 0
4/12/2024 | 16 | 70763 | 12478 | -13307 | 12632 | 5341 | -5695 | 0.17557 | 0 | 0 | 0
4/12/2024 | 17 | 72404 | 11860 | -12439 | 12944 | 5076 | -5324 | 0.17676 | 0 | 0 | 0
4/12/2024 | 18 | 73922 | 9675 | -9151 | 14585 | 4141 | -3917 | 0.19892 | 0 | 0 | 0
4/12/2024 | 19 | 75062 | 11310 | -10101 | 17754 | 4841 | -4323 | 0.23957 | 128 | 0 | 0
4/12/2024 | 20 | 76616 | 12612 | -11591 | 19319 | 5398 | -4961 | 0.25447 | 835 | 0 | 0
4/12/2024 | 21 | 76018 | 12466 | -11204 | 19778 | 5335 | -4795 | 0.26291 | 834 | 25 | 0.029976
4/12/2024 | 22 | 73786 | 12233 | -10744 | 20017 | 5236 | -4598 | 0.27439 | 1343 | 221 | 0.16456
4/12/2024 | 23 | 69165 | 13201 | -11281 | 19584 | 5650 | -4828 | 0.28706 | 764 | 6 | 0.0078534
4/12/2024 | 24 | 65140 | 12920 | -10767 | 18992 | 5530 | -4608 | 0.29593 | 763 | 0 | 0
4/13/2024 | 1 | 62516 | 12617 | -10738 | 18569 | 5400 | -4596 | 0.30085 | 605 | 0 | 0
4/13/2024 | 2 | 60265 | 12342 | -10394 | 17862 | 5282 | -4449 | 0.3005 | 487 | 0 | 0
4/13/2024 | 3 | 59533 | 12084 | -10210 | 17853 | 5172 | -4370 | 0.30379 | 378 | 0 | 0
4/13/2024 | 4 | 59038 | 11893 | -10095 | 17632 | 5090 | -4321 | 0.30247 | 302 | 0 | 0
4/13/2024 | 5 | 59675 | 11488 | -9858 | 17546 | 4917 | -4219 | 0.29759 | 470 | 0 | 0
4/13/2024 | 6 | 61012 | 12212 | -10381 | 17450 | 5227 | -4443 | 0.29015 | 45 | 0 | 0
4/13/2024 | 7 | 63294 | 11192 | -9491 | 16702 | 4790 | -4062 | 0.26817 | 323 | 0 | 0
4/13/2024 | 8 | 65110 | 9067 | -7591 | 13829 | 3881 | -3249 | 0.21718 | 207 | 0 | 0
4/13/2024 | 9 | 66584 | 9340 | -8517 | 11592 | 3997 | -3645 | 0.17719 | 0 | 0 | 0
4/13/2024 | 10 | 67141 | 9648 | -9566 | 11172 | 4129 | -4094 | 0.16671 | 0 | 0 | 0
4/13/2024 | 11 | 66535 | 9739 | -9836 | 11016 | 4168 | -4210 | 0.16518 | 0 | 0 | 0
4/13/2024 | 12 | 65824 | 10353 | -10464 | 11004 | 4431 | -4479 | 0.16673 | 0 | 0 | 0
4/13/2024 | 13 | 65420 | 11236 | -11245 | 11245 | 4809 | -4813 | 0.17185 | 0 | 0 | 0
4/13/2024 | 14 | 65905 | 11756 | -11712 | 11488 | 5032 | -5013 | 0.17448 | 96 | 0 | 0
4/13/2024 | 15 | 67204 | 11807 | -11856 | 11620 | 5053 | -5074 | 0.17272 | 558 | 0 | 0
4/13/2024 | 16 | 68893 | 11587 | -11611 | 12494 | 4959 | -4969 | 0.18127 | 40 | 0 | 0
4/13/2024 | 17 | 70905 | 11064 | -10890 | 13298 | 4735 | -4661 | 0.18813 | 66 | 0 | 0
4/13/2024 | 18 | 71717 | 10102 | -8963 | 15099 | 4324 | -3836 | 0.21394 | 0 | 0 | 0
4/13/2024 | 19 | 72613 | 11600 | -10169 | 18046 | 4965 | -4352 | 0.252 | 32 | 0 | 0
4/13/2024 | 20 | 73911 | 11985 | -10596 | 19601 | 5129 | -4535 | 0.26819 | 0 | 0 | 0
4/13/2024 | 21 | 73529 | 12089 | -10680 | 19479 | 5174 | -4571 | 0.26798 | 220 | 0 | 0
4/13/2024 | 22 | 71536 | 11847 | -10390 | 18850 | 5070 | -4447 | 0.26678 | 546 | 3 | 0.0054945
4/13/2024 | 23 | 67590 | 13483 | -11807 | 18048 | 5771 | -5053 | 0.27093 | 114 | 0 | 0
4/13/2024 | 24 | 63967 | 13288 | -11502 | 17387 | 5687 | -4923 | 0.27605 | 148 | 0 | 0
4/14/2024 | 1 | 62174 | 12002 | -10403 | 17647 | 5137 | -4453 | 0.28744 | 666 | 2 | 0.003003
4/14/2024 | 2 | 60844 | 11921 | -10275 | 17884 | 5102 | -4398 | 0.29746 | 744 | 0 | 0
4/14/2024 | 3 | 59226 | 11923 | -10090 | 17659 | 5103 | -4318 | 0.30207 | 626 | 2 | 0.0031949
4/14/2024 | 4 | 58685 | 11854 | -10208 | 17138 | 5074 | -4369 | 0.29575 | 648 | 2 | 0.0030864
4/14/2024 | 5 | 59215 | 11706 | -10266 | 16848 | 5010 | -4394 | 0.28792 | 663 | 36 | 0.054299
4/14/2024 | 6 | 60578 | 11554 | -10180 | 16748 | 4945 | -4357 | 0.27983 | 585 | 0 | 0
4/14/2024 | 7 | 62208 | 10917 | -9636 | 15812 | 4672 | -4124 | 0.25768 | 848 | 32 | 0.037736
4/14/2024 | 8 | 63745 | 9527 | -8660 | 13315 | 4077 | -3706 | 0.21182 | 450 | 19 | 0.042222
4/14/2024 | 9 | 65389 | 9773 | -10039 | 11565 | 4183 | -4297 | 0.17584 | 0 | 0 | 0
4/14/2024 | 10 | 65095 | 10169 | -10746 | 11148 | 4352 | -4599 | 0.16896 | 0 | 0 | 0
4/14/2024 | 11 | 63973 | 9826 | -10542 | 10992 | 4205 | -4512 | 0.16891 | 0 | 0 | 0
4/14/2024 | 12 | 63458 | 9723 | -10151 | 10993 | 4161 | -4345 | 0.17149 | 0 | 0 | 0
4/14/2024 | 13 | 62670 | 10137 | -10371 | 10408 | 4339 | -4439 | 0.1651 | 0 | 0 | 0
4/14/2024 | 14 | 62174 | 10275 | -10545 | 10381 | 4398 | -4513 | 0.16584 | 0 | 0 | 0
4/14/2024 | 15 | 62452 | 10241 | -10628 | 10362 | 4383 | -4549 | 0.16428 | 0 | 0 | 0
4/14/2024 | 16 | 64127 | 10575 | -11119 | 10622 | 4526 | -4759 | 0.16339 | 0 | 0 | 0
4/14/2024 | 17 | 66917 | 10649 | -11236 | 11068 | 4558 | -4809 | 0.16308 | 0 | 0 | 0
4/14/2024 | 18 | 70083 | 10348 | -10214 | 13195 | 4429 | -4372 | 0.18873 | 0 | 0 | 0
4/14/2024 | 19 | 72369 | 12742 | -11865 | 16379 | 5454 | -5078 | 0.22875 | 142 | 0 | 0
4/14/2024 | 20 | 74530 | 14439 | -13315 | 17993 | 6180 | -5699 | 0.24419 | 109 | 0 | 0
4/14/2024 | 21 | 74724 | 14924 | -13733 | 18081 | 6388 | -5878 | 0.24489 | 499 | 0 | 0
4/14/2024 | 22 | 71992 | 14275 | -12960 | 17143 | 6110 | -5547 | 0.24153 | 900 | 138 | 0.15333
4/14/2024 | 23 | 66305 | 15197 | -13076 | 15815 | 6504 | -5596 | 0.2444 | 463 | 12 | 0.025918
4/14/2024 | 24 | 62396 | 15299 | -13081 | 14918 | 6548 | -5599 | 0.24557 | 617 | 44 | 0.071313
4/15/2024 | 1 | 59931 | 15019 | -12994 | 14257 | 6428 | -5562 | 0.24409 | 822 | 164 | 0.19951
4/15/2024 | 2 | 59000 | 14733 | -12940 | 14069 | 6306 | -5538 | 0.24406 | 635 | 120 | 0.18898
4/15/2024 | 3 | 57953 | 14806 | -12966 | 13815 | 6337 | -5549 | 0.24423 | 759 | 100 | 0.13175
4/15/2024 | 4 | 58374 | 14762 | -12991 | 14141 | 6318 | -5560 | 0.24772 | 464 | 9 | 0.019397
4/15/2024 | 5 | 60598 | 14437 | -12813 | 14740 | 6179 | -5484 | 0.24806 | 628 | 61 | 0.097134
4/15/2024 | 6 | 65368 | 14895 | -13208 | 15551 | 6375 | -5653 | 0.24268 | 964 | 107 | 0.111
4/15/2024 | 7 | 70991 | 13967 | -12362 | 15754 | 5978 | -5291 | 0.22647 | 1087 | 126 | 0.11592
4/15/2024 | 8 | 73197 | 12970 | -11876 | 13106 | 5551 | -5083 | 0.18271 | 227 | 12 | 0.052863
4/15/2024 | 9 | 73127 | 11155 | -11313 | 11010 | 4775 | -4842 | 0.14997 | 0 | 0 | 0
4/15/2024 | 10 | 71514 | 11079 | -11275 | 10108 | 4742 | -4826 | 0.14055 | 0 | 0 | 0
4/15/2024 | 11 | 69618 | 11425 | -11974 | 9606 | 4890 | -5125 | 0.13568 | 0 | 0 | 0
4/15/2024 | 12 | 68100 | 10981 | -11613 | 9519 | 4700 | -4970 | 0.13709 | 0 | 0 | 0
4/15/2024 | 13 | 66360 | 11222 | -11742 | 9413 | 4803 | -5026 | 0.13958 | 0 | 0 | 0
4/15/2024 | 14 | 65200 | 11581 | -11929 | 9506 | 4957 | -5106 | 0.14428 | 0 | 0 | 0
4/15/2024 | 15 | 64364 | 11627 | -11794 | 9441 | 4977 | -5048 | 0.14596 | 0 | 0 | 0
4/15/2024 | 16 | 65293 | 11187 | -11430 | 9282 | 4788 | -4892 | 0.14109 | 0 | 0 | 0
4/15/2024 | 17 | 67595 | 11411 | -11390 | 9833 | 4884 | -4875 | 0.14556 | 0 | 0 | 0
4/15/2024 | 18 | 70960 | 11091 | -10437 | 11127 | 4747 | -4467 | 0.15928 | 0 | 0 | 0
4/15/2024 | 19 | 73249 | 14945 | -13068 | 13522 | 6396 | -5593 | 0.19068 | 152 | 0 | 0
4/15/2024 | 20 | 76692 | 16255 | -14270 | 15798 | 6957 | -6108 | 0.21159 | 247 | 0 | 0
4/15/2024 | 21 | 77123 | 15767 | -14059 | 16552 | 6748 | -6017 | 0.21924 | 144 | 0 | 0
4/15/2024 | 22 | 74409 | 15842 | -14038 | 16452 | 6780 | -6008 | 0.226 | 465 | 23 | 0.049462
4/15/2024 | 23 | 69605 | 16239 | -14515 | 15829 | 6950 | -6212 | 0.23226 | 414 | 1 | 0.0024155
4/15/2024 | 24 | 65924 | 15862 | -14320 | 15336 | 6789 | -6129 | 0.2371 | 536 | 34 | 0.063433
4/16/2024 | 1 | 63348 | 15942 | -14415 | 14528 | 6823 | -6170 | 0.234 | 781 | 130 | 0.16645
4/16/2024 | 2 | 62023 | 15609 | -14081 | 13836 | 6680 | -6027 | 0.22799 | 683 | 115 | 0.16837
4/16/2024 | 3 | 61306 | 15595 | -14106 | 14133 | 6675 | -6037 | 0.23523 | 762 | 126 | 0.16535
4/16/2024 | 4 | 61524 | 15245 | -13845 | 14071 | 6525 | -5926 | 0.23314 | 663 | 90 | 0.13575
4/16/2024 | 5 | 63697 | 15194 | -14024 | 14604 | 6503 | -6002 | 0.23286 | 181 | 0 | 0
4/16/2024 | 6 | 67694 | 15912 | -14439 | 15058 | 6810 | -6180 | 0.22681 | 152 | 0 | 0
4/16/2024 | 7 | 73166 | 14169 | -12836 | 15490 | 6064 | -5494 | 0.21557 | 506 | 46 | 0.090909
4/16/2024 | 8 | 75400 | 12221 | -11352 | 12900 | 5231 | -4859 | 0.17402 | 748 | 94 | 0.12567
4/16/2024 | 9 | 73206 | 10117 | -10162 | 9985 | 4330 | -4349 | 0.13622 | 463 | 0 | 0
4/16/2024 | 10 | 71349 | 9772 | -10285 | 9332 | 4183 | -4402 | 0.12865 | 317 | 0 | 0
4/16/2024 | 11 | 68817 | 9715 | -10316 | 9572 | 4158 | -4415 | 0.13655 | 91 | 0 | 0
4/16/2024 | 12 | 67083 | 10022 | -10746 | 9635 | 4289 | -4599 | 0.14052 | 0 | 0 | 0
4/16/2024 | 13 | 65550 | 10429 | -10980 | 9787 | 4463 | -4699 | 0.14694 | 0 | 0 | 0
4/16/2024 | 14 | 65572 | 10590 | -11126 | 10179 | 4532 | -4762 | 0.15298 | 0 | 0 | 0
4/16/2024 | 15 | 66352 | 10457 | -11004 | 9794 | 4475 | -4710 | 0.14526 | 0 | 0 | 0
4/16/2024 | 16 | 67908 | 10736 | -11069 | 10030 | 4595 | -4737 | 0.14633 | 0 | 0 | 0
4/16/2024 | 17 | 70810 | 11049 | -11135 | 10400 | 4729 | -4766 | 0.14653 | 0 | 0 | 0
4/16/2024 | 18 | 73836 | 10906 | -10123 | 11584 | 4668 | -4333 | 0.15973 | 0 | 0 | 0
4/16/2024 | 19 | 75978 | 13813 | -12140 | 14419 | 5912 | -5196 | 0.19491 | 171 | 0 | 0
4/16/2024 | 20 | 78455 | 15001 | -13368 | 16446 | 6420 | -5721 | 0.21408 | 8 | 0 | 0
4/16/2024 | 21 | 78673 | 15513 | -13624 | 17216 | 6640 | -5831 | 0.22374 | 0 | 0 | 0
4/16/2024 | 22 | 75295 | 14451 | -12392 | 17596 | 6185 | -5304 | 0.23886 | 0 | 0 | 0
4/16/2024 | 23 | 70532 | 15613 | -13564 | 16985 | 6682 | -5805 | 0.2461 | 0 | 0 | 0
4/16/2024 | 24 | 66152 | 14479 | -12643 | 16696 | 6197 | -5411 | 0.25713 | 5 | 0 | 0
4/17/2024 | 1 | 63581 | 13420 | -11639 | 16605 | 5744 | -4982 | 0.2657 | 118 | 0 | 0
4/17/2024 | 2 | 62312 | 13236 | -11391 | 16411 | 5665 | -4876 | 0.26809 | 159 | 0 | 0
4/17/2024 | 3 | 61664 | 13382 | -11500 | 16366 | 5728 | -4922 | 0.27023 | 358 | 0 | 0
4/17/2024 | 4 | 62083 | 12891 | -11317 | 16380 | 5517 | -4844 | 0.26789 | 233 | 0 | 0
4/17/2024 | 5 | 64259 | 13251 | -11828 | 17076 | 5671 | -5063 | 0.26924 | 5 | 0 | 0
4/17/2024 | 6 | 68707 | 14342 | -12814 | 18126 | 6138 | -5484 | 0.26739 | 85 | 4 | 0.047059
4/17/2024 | 7 | 73618 | 12493 | -10808 | 17729 | 5347 | -4626 | 0.24501 | 509 | 26 | 0.051081
4/17/2024 | 8 | 76089 | 10720 | -9192 | 14988 | 4588 | -3934 | 0.20153 | 671 | 98 | 0.14605
4/17/2024 | 9 | 74281 | 10613 | -9334 | 12012 | 4542 | -3995 | 0.16621 | 0 | 0 | 0
4/17/2024 | 10 | 71681 | 10848 | -10018 | 11451 | 4643 | -4288 | 0.16282 | 0 | 0 | 0
4/17/2024 | 11 | 69391 | 11212 | -10608 | 11204 | 4799 | -4540 | 0.16377 | 0 | 0 | 0
4/17/2024 | 12 | 67938 | 11102 | -10415 | 11302 | 4751 | -4458 | 0.16896 | 0 | 0 | 0
4/17/2024 | 13 | 67442 | 11002 | -10372 | 11115 | 4709 | -4439 | 0.16725 | 0 | 0 | 0
4/17/2024 | 14 | 33982 | 5651 | -5439 | 5438 | 2419 | -2328 | 0.1617 | 0 | 0 | 0
4/17/2024 | 15 | 62959 | 10176 | -9984 | 10094 | 4355 | -4273 | 0.16114 | 0 | 0 | 0
4/17/2024 | 17 | 73650 | 10880 | -10489 | 12466 | 4656 | -4489 | 0.17062 | 0 | 0 | 0
4/17/2024 | 18 | 76112 | 10407 | -9383 | 13931 | 4454 | -4016 | 0.18628 | 0 | 0 | 0
4/17/2024 | 19 | 78409 | 11516 | -9887 | 17009 | 4929 | -4232 | 0.22122 | 15 | 0 | 0
4/17/2024 | 20 | 79799 | 11695 | -10309 | 19221 | 5005 | -4412 | 0.24406 | 135 | 0 | 0
4/17/2024 | 21 | 79764 | 11559 | -10140 | 19459 | 4947 | -4340 | 0.24717 | 420 | 0 | 0
4/17/2024 | 22 | 76892 | 10945 | -9404 | 19348 | 4684 | -4025 | 0.25508 | 357 | 0 | 0
4/17/2024 | 23 | 71879 | 12581 | -10731 | 18789 | 5385 | -4593 | 0.26558 | 0 | 0 | 0
4/17/2024 | 24 | 66994 | 11913 | -9950 | 18031 | 5099 | -4259 | 0.27366 | 44 | 0 | 0
4/18/2024 | 1 | 64316 | 11988 | -9767 | 17568 | 5131 | -4180 | 0.27833 | 266 | 0 | 0
4/18/2024 | 2 | 62499 | 11435 | -9311 | 17082 | 4894 | -3985 | 0.2784 | 287 | 0 | 0
4/18/2024 | 3 | 62019 | 11272 | -9338 | 17128 | 4824 | -3997 | 0.28075 | 380 | 0 | 0
4/18/2024 | 4 | 62012 | 11440 | -9432 | 17394 | 4896 | -4037 | 0.28511 | 379 | 0 | 0
4/18/2024 | 5 | 63940 | 11849 | -9771 | 18088 | 5071 | -4182 | 0.28745 | 168 | 0 | 0
4/18/2024 | 6 | 67681 | 12888 | -10604 | 18806 | 5516 | -4539 | 0.28276 | 166 | 0 | 0
4/18/2024 | 7 | 72775 | 12439 | -10025 | 18708 | 5324 | -4291 | 0.26255 | 352 | 0 | 0
4/18/2024 | 8 | 74693 | 11017 | -8901 | 16573 | 4715 | -3810 | 0.22755 | 456 | 33 | 0.072368
4/18/2024 | 9 | 73812 | 10440 | -8822 | 14638 | 4468 | -3776 | 0.20323 | 0 | 0 | 0
4/18/2024 | 10 | 72674 | 10101 | -8501 | 13826 | 4323 | -3638 | 0.19537 | 0 | 0 | 0
4/18/2024 | 11 | 69722 | 9827 | -8262 | 12668 | 4206 | -3536 | 0.1871 | 0 | 0 | 0
4/18/2024 | 12 | 67475 | 10257 | -8507 | 12013 | 4390 | -3641 | 0.18436 | 0 | 0 | 0
4/18/2024 | 13 | 67407 | 10159 | -8851 | 11847 | 4348 | -3788 | 0.18056 | 0 | 0 | 0
4/18/2024 | 14 | 67402 | 10450 | -9502 | 12166 | 4473 | -4067 | 0.18394 | 0 | 0 | 0
4/18/2024 | 15 | 68181 | 10647 | -9715 | 12259 | 4557 | -4158 | 0.18315 | 0 | 0 | 0
4/18/2024 | 16 | 70230 | 10682 | -9758 | 12481 | 4572 | -4176 | 0.18097 | 0 | 0 | 0
4/18/2024 | 17 | 71961 | 11371 | -10119 | 12845 | 4867 | -4331 | 0.18277 | 0 | 0 | 0
4/18/2024 | 18 | 74494 | 12324 | -10886 | 14551 | 5275 | -4659 | 0.19974 | 0 | 0 | 0
4/18/2024 | 19 | 77902 | 13799 | -12637 | 16848 | 5906 | -5408 | 0.21939 | 303 | 0 | 0
4/18/2024 | 20 | 79767 | 14477 | -13389 | 18691 | 6196 | -5731 | 0.23692 | 331 | 0 | 0
4/18/2024 | 21 | 79835 | 13839 | -12660 | 18970 | 5923 | -5419 | 0.24038 | 473 | 0 | 0
4/18/2024 | 22 | 76643 | 13043 | -11580 | 18194 | 5582 | -4956 | 0.24095 | 470 | 3 | 0.006383
4/18/2024 | 23 | 71232 | 13456 | -12122 | 17735 | 5759 | -5188 | 0.25227 | 354 | 0 | 0
4/18/2024 | 24 | 66741 | 12894 | -11522 | 17083 | 5519 | -4931 | 0.25944 | 22 | 0 | 0
4/19/2024 | 1 | 64108 | 11273 | -10010 | 16511 | 4825 | -4284 | 0.26085 | 362 | 0 | 0
4/19/2024 | 2 | 62194 | 10884 | -9672 | 16265 | 4658 | -4139 | 0.26471 | 348 | 0 | 0
4/19/2024 | 3 | 61145 | 11051 | -9652 | 16299 | 4730 | -4131 | 0.27018 | 404 | 0 | 0
4/19/2024 | 4 | 61444 | 10856 | -9474 | 16483 | 4646 | -4055 | 0.27177 | 502 | 0 | 0
4/19/2024 | 5 | 63283 | 11357 | -10171 | 17074 | 4861 | -4353 | 0.27272 | 371 | 0 | 0
4/19/2024 | 6 | 67719 | 12490 | -11715 | 17438 | 5346 | -5014 | 0.25944 | 251 | 0 | 0
4/19/2024 | 7 | 72345 | 11311 | -10602 | 17441 | 4841 | -4538 | 0.24289 | 523 | 1 | 0.001912
4/19/2024 | 8 | 73790 | 10151 | -9125 | 14227 | 4345 | -3905 | 0.19604 | 222 | 5 | 0.022523
4/19/2024 | 9 | 73601 | 11073 | -10606 | 11560 | 4739 | -4539 | 0.15877 | 0 | 0 | 0
4/19/2024 | 10 | 72730 | 10735 | -11224 | 10621 | 4595 | -4804 | 0.14413 | 0 | 0 | 0
4/19/2024 | 11 | 70336 | 11197 | -11523 | 10528 | 4792 | -4932 | 0.14838 | 0 | 0 | 0
4/19/2024 | 12 | 68977 | 10756 | -11342 | 10553 | 4604 | -4854 | 0.15065 | 0 | 0 | 0
4/19/2024 | 13 | 67721 | 11137 | -11737 | 10951 | 4767 | -5023 | 0.15934 | 0 | 0 | 0
4/19/2024 | 14 | 67873 | 11456 | -12254 | 10637 | 4903 | -5245 | 0.15348 | 0 | 0 | 0
4/19/2024 | 15 | 68316 | 11881 | -12504 | 10597 | 5085 | -5352 | 0.1526 | 0 | 0 | 0
4/19/2024 | 16 | 70609 | 11970 | -12553 | 10506 | 5123 | -5373 | 0.14646 | 0 | 0 | 0
4/19/2024 | 17 | 73733 | 12213 | -12772 | 10686 | 5227 | -5466 | 0.14277 | 0 | 0 | 0
4/19/2024 | 18 | 75318 | 11898 | -11347 | 12193 | 5093 | -4857 | 0.16382 | 0 | 0 | 0
4/19/2024 | 19 | 76681 | 13546 | -12543 | 15051 | 5798 | -5368 | 0.19928 | 112 | 0 | 0
4/19/2024 | 20 | 78057 | 13856 | -12901 | 16707 | 5930 | -5521 | 0.21663 | 759 | 0 | 0
4/19/2024 | 21 | 77236 | 13695 | -12693 | 16852 | 5862 | -5433 | 0.22088 | 562 | 0 | 0
4/19/2024 | 22 | 74811 | 13370 | -12528 | 16687 | 5722 | -5362 | 0.22533 | 390 | 0 | 0
4/19/2024 | 23 | 71274 | 13087 | -12427 | 16263 | 5601 | -5319 | 0.23 | 0 | 0 | 0
4/19/2024 | 24 | 67493 | 12599 | -11981 | 16044 | 5392 | -5128 | 0.23943 | 223 | 0 | 0
4/20/2024 | 1 | 64470 | 12753 | -12308 | 15214 | 5458 | -5268 | 0.23729 | 135 | 0 | 0
4/20/2024 | 2 | 62259 | 12660 | -12159 | 14871 | 5418 | -5204 | 0.24036 | 160 | 0 | 0
4/20/2024 | 3 | 60871 | 12658 | -12140 | 15044 | 5418 | -5196 | 0.24868 | 379 | 0 | 0
4/20/2024 | 4 | 59862 | 12367 | -11630 | 15067 | 5293 | -4978 | 0.25383 | 316 | 0 | 0
4/20/2024 | 5 | 60082 | 11974 | -11126 | 15013 | 5125 | -4762 | 0.25236 | 489 | 0 | 0
4/20/2024 | 6 | 61350 | 12422 | -11100 | 14720 | 5317 | -4751 | 0.2439 | 677 | 2 | 0.0029542
4/20/2024 | 7 | 63364 | 10855 | -9800 | 14216 | 4646 | -4194 | 0.2277 | 1111 | 140 | 0.12601
4/20/2024 | 8 | 64580 | 10622 | -9780 | 10976 | 4546 | -4186 | 0.17328 | 42 | 0 | 0
4/20/2024 | 9 | 66796 | 10067 | -10277 | 10060 | 4309 | -4398 | 0.14975 | 0 | 0 | 0
4/20/2024 | 10 | 66321 | 10458 | -11045 | 10021 | 4476 | -4727 | 0.14863 | 0 | 0 | 0
4/20/2024 | 11 | 64722 | 10618 | -11124 | 9972 | 4544 | -4761 | 0.15191 | 0 | 0 | 0
4/20/2024 | 12 | 62556 | 11321 | -11576 | 9590 | 4845 | -4954 | 0.15218 | 0 | 0 | 0
4/20/2024 | 13 | 61618 | 11385 | -11712 | 9541 | 4873 | -5013 | 0.15338 | 0 | 0 | 0
4/20/2024 | 14 | 61555 | 11717 | -11985 | 9606 | 5015 | -5130 | 0.15486 | 0 | 0 | 0
4/20/2024 | 15 | 62495 | 12190 | -12050 | 9911 | 5218 | -5158 | 0.15919 | 0 | 0 | 0
4/20/2024 | 16 | 65326 | 12304 | -12185 | 10682 | 5266 | -5215 | 0.164 | 0 | 0 | 0
4/20/2024 | 17 | 68245 | 12222 | -11560 | 11357 | 5231 | -4948 | 0.16892 | 0 | 0 | 0
4/20/2024 | 18 | 71891 | 11940 | -10911 | 13017 | 5110 | -4670 | 0.18454 | 0 | 0 | 0
4/20/2024 | 19 | 73789 | 13940 | -12307 | 14831 | 5966 | -5267 | 0.20591 | 160 | 0 | 0
4/20/2024 | 20 | 74701 | 15974 | -13940 | 15991 | 6837 | -5966 | 0.21974 | 712 | 0 | 0
4/20/2024 | 21 | 73977 | 16389 | -14211 | 15606 | 7014 | -6082 | 0.21716 | 699 | 19 | 0.027182
4/20/2024 | 22 | 71598 | 16788 | -14607 | 15414 | 7185 | -6252 | 0.22157 | 764 | 24 | 0.031414
4/20/2024 | 23 | 68204 | 17185 | -15073 | 15123 | 7355 | -6451 | 0.22793 | 568 | 0 | 0
4/20/2024 | 24 | 64767 | 16805 | -14797 | 15108 | 7192 | -6333 | 0.23912 | 593 | 0 | 0
4/21/2024 | 1 | 62090 | 15603 | -13552 | 14241 | 6678 | -5800 | 0.23572 | 546 | 1 | 0.0018315
4/21/2024 | 2 | 59774 | 15445 | -13456 | 13599 | 6610 | -5759 | 0.23396 | 279 | 0 | 0
4/21/2024 | 3 | 58112 | 15260 | -13076 | 13360 | 6531 | -5597 | 0.23706 | 286 | 0 | 0
4/21/2024 | 4 | 57281 | 15104 | -12746 | 13187 | 6465 | -5455 | 0.23805 | 338 | 1 | 0.0029586
4/21/2024 | 5 | 57389 | 15069 | -12654 | 12887 | 6450 | -5416 | 0.23278 | 384 | 28 | 0.072917
4/21/2024 | 6 | 58320 | 15125 | -12562 | 12816 | 6474 | -5377 | 0.22852 | 560 | 45 | 0.080357
4/21/2024 | 7 | 59849 | 13322 | -11090 | 12188 | 5702 | -4746 | 0.21172 | 1231 | 245 | 0.19903
4/21/2024 | 8 | 60784 | 11408 | -9487 | 9248 | 4883 | -4060 | 0.16061 | 91 | 3 | 0.032967
4/21/2024 | 9 | 62445 | 11085 | -10511 | 8154 | 4744 | -4499 | 0.13328 | 0 | 0 | 0
4/21/2024 | 10 | 62703 | 11288 | -11306 | 7849 | 4831 | -4839 | 0.12509 | 0 | 0 | 0
4/21/2024 | 11 | 61857 | 11175 | -11353 | 7658 | 4783 | -4859 | 0.12293 | 0 | 0 | 0
4/21/2024 | 12 | 61558 | 11492 | -11713 | 7579 | 4918 | -5013 | 0.12201 | 0 | 0 | 0
4/21/2024 | 13 | 61952 | 11806 | -12170 | 7830 | 5053 | -5209 | 0.1246 | 0 | 0 | 0
4/21/2024 | 14 | 63388 | 12348 | -12641 | 8018 | 5285 | -5410 | 0.1251 | 0 | 0 | 0
4/21/2024 | 15 | 65390 | 12805 | -13028 | 8347 | 5481 | -5576 | 0.12663 | 0 | 0 | 0
4/21/2024 | 16 | 68862 | 12906 | -13087 | 8876 | 5524 | -5601 | 0.12811 | 0 | 0 | 0
4/21/2024 | 17 | 72684 | 12327 | -12316 | 9992 | 5276 | -5271 | 0.13752 | 0 | 0 | 0
4/21/2024 | 18 | 75628 | 12329 | -10778 | 12253 | 5277 | -4613 | 0.16736 | 0 | 0 | 0
4/21/2024 | 19 | 77736 | 15311 | -13003 | 15832 | 6553 | -5565 | 0.21013 | 24 | 0 | 0
4/21/2024 | 20 | 78260 | 16330 | -13812 | 17840 | 6989 | -5912 | 0.23419 | 272 | 0 | 0
4/21/2024 | 21 | 77642 | 15815 | -13325 | 17879 | 6769 | -5703 | 0.23642 | 750 | 7 | 0.0093333
4/21/2024 | 22 | 74083 | 15321 | -12828 | 17138 | 6557 | -5490 | 0.23774 | 750 | 64 | 0.085333
4/21/2024 | 23 | 68774 | 15826 | -12999 | 16993 | 6774 | -5563 | 0.25424 | 1059 | 65 | 0.061379
4/21/2024 | 24 | 63581 | 15323 | -12190 | 16226 | 6558 | -5217 | 0.26332 | 1324 | 297 | 0.22432
4/22/2024 | 1 | 60871 | 14517 | -11419 | 15572 | 6213 | -4888 | 0.26414 | 1283 | 273 | 0.21278
4/22/2024 | 2 | 58953 | 14327 | -11275 | 15315 | 6132 | -4826 | 0.26806 | 1079 | 107 | 0.099166
4/22/2024 | 3 | 57928 | 14238 | -11078 | 15159 | 6094 | -4741 | 0.2703 | 759 | 20 | 0.02635
4/22/2024 | 4 | 58037 | 14303 | -11138 | 15320 | 6122 | -4767 | 0.27246 | 489 | 9 | 0.018405
4/22/2024 | 5 | 59808 | 14368 | -11333 | 15585 | 6149 | -4850 | 0.26867 | 304 | 9 | 0.029605
4/22/2024 | 6 | 64279 | 14720 | -11909 | 16131 | 6300 | -5097 | 0.25837 | 235 | 0 | 0
4/22/2024 | 7 | 69704 | 12222 | -9701 | 16185 | 5231 | -4152 | 0.23903 | 1029 | 206 | 0.20019
4/22/2024 | 8 | 73260 | 11373 | -9223 | 13480 | 4868 | -3947 | 0.19097 | 574 | 58 | 0.10105
4/22/2024 | 9 | 73794 | 10797 | -9391 | 11426 | 4621 | -4020 | 0.15993 | 162 | 0 | 0
4/22/2024 | 10 | 73400 | 10330 | -9184 | 10769 | 4421 | -3931 | 0.15103 | 0 | 0 | 0
4/22/2024 | 11 | 72708 | 10351 | -9225 | 10358 | 4430 | -3948 | 0.14682 | 0 | 0 | 0
4/22/2024 | 12 | 72618 | 10205 | -9272 | 10372 | 4368 | -3968 | 0.14646 | 0 | 0 | 0
4/22/2024 | 13 | 73257 | 10414 | -9506 | 10327 | 4457 | -4068 | 0.14449 | 0 | 0 | 0
4/22/2024 | 14 | 73934 | 10795 | -9952 | 10493 | 4620 | -4260 | 0.14514 | 0 | 0 | 0
4/22/2024 | 15 | 75054 | 11420 | -10608 | 10995 | 4888 | -4540 | 0.14951 | 0 | 0 | 0
4/22/2024 | 16 | 76889 | 11965 | -11062 | 11298 | 5121 | -4735 | 0.1502 | 0 | 0 | 0
4/22/2024 | 17 | 79181 | 11457 | -10269 | 12635 | 4903 | -4395 | 0.16353 | 0 | 0 | 0
4/22/2024 | 18 | 82047 | 11864 | -10842 | 14693 | 5078 | -4640 | 0.18215 | 26 | 0 | 0
4/22/2024 | 19 | 82690 | 13745 | -12623 | 17493 | 5883 | -5403 | 0.21444 | 447 | 3 | 0.0067114
4/22/2024 | 20 | 83235 | 14251 | -13145 | 19193 | 6099 | -5626 | 0.23317 | 578 | 2 | 0.0034602
4/22/2024 | 21 | 82172 | 13709 | -12612 | 19474 | 5868 | -5398 | 0.23951 | 503 | 1 | 0.0019881
4/22/2024 | 22 | 78601 | 12975 | -11889 | 19037 | 5553 | -5089 | 0.24472 | 590 | 16 | 0.027119
4/22/2024 | 23 | 72981 | 14257 | -12982 | 18389 | 6102 | -5556 | 0.255 | 357 | 8 | 0.022409
4/22/2024 | 24 | 67468 | 12806 | -11271 | 17805 | 5481 | -4824 | 0.26755 | 12 | 0 | 0
4/23/2024 | 1 | 63827 | 12060 | -10060 | 17362 | 5162 | -4306 | 0.27676 | 59 | 0 | 0
4/23/2024 | 2 | 61473 | 11827 | -9862 | 16551 | 5062 | -4221 | 0.27416 | 90 | 0 | 0
4/23/2024 | 3 | 59959 | 11679 | -9699 | 16252 | 4999 | -4151 | 0.27608 | 0 | 0 | 0
4/23/2024 | 4 | 60007 | 11466 | -9435 | 16289 | 4907 | -4038 | 0.27657 | 0 | 0 | 0
4/23/2024 | 5 | 61484 | 11346 | -9399 | 16330 | 4856 | -4023 | 0.27058 | 21 | 0 | 0
4/23/2024 | 6 | 65868 | 11500 | -9638 | 16931 | 4922 | -4125 | 0.26175 | 12 | 0 | 0
4/23/2024 | 7 | 70717 | 11124 | -9604 | 16665 | 4761 | -4111 | 0.2397 | 370 | 2 | 0.0054054
4/23/2024 | 8 | 73532 | 10177 | -8797 | 13614 | 4356 | -3765 | 0.18962 | 178 | 0 | 0
4/23/2024 | 9 | 74265 | 10164 | -9466 | 11281 | 4350 | -4052 | 0.15446 | 0 | 0 | 0
4/23/2024 | 10 | 74018 | 10627 | -10468 | 10801 | 4548 | -4480 | 0.14653 | 0 | 0 | 0
4/23/2024 | 11 | 73060 | 10305 | -10436 | 10943 | 4410 | -4467 | 0.14927 | 0 | 0 | 0
4/23/2024 | 12 | 72627 | 10706 | -10916 | 10678 | 4582 | -4672 | 0.14621 | 0 | 0 | 0
4/23/2024 | 13 | 72275 | 10879 | -10910 | 10707 | 4656 | -4669 | 0.14803 | 0 | 0 | 0
4/23/2024 | 14 | 72976 | 10677 | -10804 | 11221 | 4570 | -4624 | 0.15329 | 0 | 0 | 0
4/23/2024 | 15 | 72792 | 11075 | -11051 | 11217 | 4740 | -4730 | 0.15418 | 0 | 0 | 0
4/23/2024 | 16 | 74475 | 11183 | -11368 | 11445 | 4786 | -4865 | 0.153 | 0 | 0 | 0
4/23/2024 | 17 | 76432 | 11477 | -11170 | 12012 | 4912 | -4781 | 0.15824 | 0 | 0 | 0
4/23/2024 | 18 | 77910 | 12298 | -11120 | 13600 | 5263 | -4759 | 0.17833 | 0 | 0 | 0
4/23/2024 | 19 | 78763 | 13069 | -11433 | 16716 | 5593 | -4893 | 0.21662 | 0 | 0 | 0
4/23/2024 | 20 | 79036 | 13571 | -11914 | 18729 | 5808 | -5099 | 0.24089 | 242 | 0 | 0
4/23/2024 | 21 | 78598 | 12864 | -11224 | 18776 | 5506 | -4804 | 0.24275 | 670 | 0 | 0
4/23/2024 | 22 | 75734 | 12243 | -10783 | 18700 | 5240 | -4615 | 0.25034 | 753 | 39 | 0.051793
4/23/2024 | 23 | 70274 | 12108 | -10277 | 18270 | 5182 | -4399 | 0.26424 | 167 | 0 | 0
4/23/2024 | 24 | 65305 | 11852 | -9828 | 17341 | 5073 | -4206 | 0.27043 | 100 | 0 | 0
4/24/2024 | 1 | 62489 | 12596 | -10357 | 16765 | 5391 | -4433 | 0.27381 | 278 | 6 | 0.021583
4/24/2024 | 2 | 59960 | 12583 | -10181 | 15760 | 5386 | -4357 | 0.26922 | 47 | 0 | 0
4/24/2024 | 3 | 58367 | 12566 | -10078 | 14985 | 5378 | -4313 | 0.26374 | 164 | 0 | 0
4/24/2024 | 4 | 58115 | 12696 | -10262 | 14971 | 5434 | -4392 | 0.26446 | 0 | 0 | 0
4/24/2024 | 5 | 59938 | 13113 | -10913 | 15197 | 5613 | -4671 | 0.25973 | 0 | 0 | 0
4/24/2024 | 6 | 63936 | 13578 | -11303 | 16002 | 5811 | -4838 | 0.25638 | 11 | 0 | 0
4/24/2024 | 7 | 68882 | 12896 | -10923 | 16149 | 5520 | -4675 | 0.23984 | 313 | 0 | 0
4/24/2024 | 8 | 71752 | 11690 | -9979 | 13271 | 5003 | -4271 | 0.19061 | 144 | 0 | 0
4/24/2024 | 9 | 73289 | 10805 | -9930 | 11490 | 4625 | -4250 | 0.15998 | 0 | 0 | 0
4/24/2024 | 10 | 73488 | 11217 | -10726 | 11137 | 4801 | -4591 | 0.15338 | 203 | 0 | 0
4/24/2024 | 11 | 71991 | 11752 | -11442 | 10782 | 5030 | -4897 | 0.15097 | 14 | 0 | 0
4/24/2024 | 12 | 70943 | 12321 | -11920 | 10116 | 5273 | -5102 | 0.14419 | 0 | 0 | 0
4/24/2024 | 13 | 70741 | 12474 | -12002 | 10291 | 5339 | -5137 | 0.14735 | 0 | 0 | 0
4/24/2024 | 14 | 70963 | 12634 | -12130 | 10242 | 5408 | -5192 | 0.14633 | 0 | 0 | 0
4/24/2024 | 15 | 71833 | 12642 | -12326 | 10285 | 5411 | -5276 | 0.14442 | 0 | 0 | 0
4/24/2024 | 16 | 73289 | 12396 | -11904 | 10504 | 5305 | -5095 | 0.14521 | 0 | 0 | 0
4/24/2024 | 17 | 75672 | 12537 | -11763 | 10984 | 5366 | -5035 | 0.14801 | 0 | 0 | 0
4/24/2024 | 18 | 77532 | 12078 | -10810 | 12142 | 5169 | -4627 | 0.16096 | 0 | 0 | 0
4/24/2024 | 19 | 78682 | 14751 | -12659 | 15352 | 6314 | -5418 | 0.20115 | 17 | 0 | 0
4/24/2024 | 20 | 79170 | 16065 | -13691 | 17063 | 6876 | -5860 | 0.22171 | 6 | 0 | 0
4/24/2024 | 21 | 79066 | 15777 | -13293 | 17461 | 6753 | -5689 | 0.22716 | 243 | 0 | 0
4/24/2024 | 22 | 75773 | 14832 | -12494 | 16888 | 6348 | -5347 | 0.22902 | 323 | 14 | 0.043344
4/24/2024 | 23 | 70674 | 16000 | -13656 | 16209 | 6848 | -5845 | 0.23572 | 65 | 0 | 0
4/24/2024 | 24 | 65752 | 15294 | -12503 | 15084 | 6546 | -5351 | 0.2375 | 278 | 9 | 0.032374
4/25/2024 | 1 | 62565 | 14143 | -11485 | 14538 | 6053 | -4916 | 0.24033 | 223 | 0 | 0
4/25/2024 | 2 | 60386 | 13716 | -11014 | 14091 | 5870 | -4714 | 0.24168 | 92 | 0 | 0
4/25/2024 | 3 | 58806 | 13312 | -10714 | 14132 | 5697 | -4585 | 0.24826 | 216 | 0 | 0
4/25/2024 | 4 | 58472 | 13112 | -10589 | 13947 | 5612 | -4532 | 0.24636 | 222 | 0 | 0
4/25/2024 | 5 | 60511 | 12630 | -10660 | 14497 | 5406 | -4563 | 0.24551 | 52 | 0 | 0
4/25/2024 | 6 | 64512 | 12901 | -11099 | 15533 | 5522 | -4751 | 0.24586 | 17 | 0 | 0
4/25/2024 | 7 | 69620 | 11992 | -10367 | 15834 | 5132 | -4437 | 0.232 | 575 | 28 | 0.048696
4/25/2024 | 8 | 73454 | 10806 | -9601 | 13758 | 4625 | -4109 | 0.19119 | 436 | 40 | 0.091743
4/25/2024 | 9 | 73710 | 10682 | -10045 | 11798 | 4572 | -4299 | 0.16236 | 0 | 0 | 0
4/25/2024 | 10 | 73422 | 10740 | -10875 | 10971 | 4597 | -4654 | 0.14892 | 0 | 0 | 0
4/25/2024 | 11 | 72806 | 11090 | -11501 | 10557 | 4746 | -4922 | 0.14339 | 0 | 0 | 0
4/25/2024 | 12 | 72029 | 11515 | -11756 | 10008 | 4929 | -5032 | 0.13798 | 0 | 0 | 0
4/25/2024 | 13 | 71787 | 11735 | -12070 | 10219 | 5023 | -5166 | 0.14102 | 0 | 0 | 0
4/25/2024 | 14 | 71910 | 11555 | -11562 | 10080 | 4946 | -4948 | 0.14016 | 0 | 0 | 0
4/25/2024 | 15 | 71726 | 11512 | -11428 | 9749 | 4927 | -4891 | 0.13626 | 0 | 0 | 0
4/25/2024 | 16 | 73153 | 11577 | -11416 | 10136 | 4955 | -4886 | 0.1392 | 0 | 0 | 0
4/25/2024 | 17 | 74878 | 12026 | -11504 | 10560 | 5147 | -4924 | 0.14301 | 0 | 0 | 0
4/25/2024 | 18 | 75935 | 11885 | -10510 | 11822 | 5087 | -4498 | 0.16054 | 0 | 0 | 0
4/25/2024 | 19 | 77077 | 12153 | -10213 | 14206 | 5202 | -4371 | 0.1903 | 104 | 0 | 0
4/25/2024 | 20 | 77879 | 12716 | -10384 | 16270 | 5442 | -4444 | 0.21528 | 161 | 0 | 0
4/25/2024 | 21 | 77603 | 12169 | -9908 | 16895 | 5208 | -4241 | 0.22366 | 740 | 22 | 0.02973
4/25/2024 | 22 | 74213 | 12430 | -10153 | 16083 | 5320 | -4346 | 0.223 | 1025 | 119 | 0.1161
4/25/2024 | 23 | 69980 | 13148 | -10865 | 15939 | 5627 | -4650 | 0.23409 | 323 | 2 | 0.006192
4/25/2024 | 24 | 65474 | 12948 | -10509 | 15466 | 5542 | -4498 | 0.24311 | 249 | 0 | 0
4/26/2024 | 1 | 62799 | 13404 | -11038 | 14622 | 5737 | -4724 | 0.23993 | 81 | 0 | 0
4/26/2024 | 2 | 60501 | 13420 | -11125 | 13927 | 5744 | -4762 | 0.23742 | 16 | 0 | 0
4/26/2024 | 3 | 59093 | 13445 | -11142 | 13406 | 5754 | -4769 | 0.2344 | 82 | 0 | 0
4/26/2024 | 4 | 58846 | 13460 | -11183 | 13204 | 5761 | -4787 | 0.23196 | 0 | 0 | 0
4/26/2024 | 5 | 60638 | 13460 | -11227 | 13454 | 5761 | -4805 | 0.2292 | 29 | 0 | 0
4/26/2024 | 6 | 64436 | 13796 | -11781 | 13913 | 5905 | -5042 | 0.22236 | 8 | 0 | 0
4/26/2024 | 7 | 69126 | 12973 | -11112 | 13758 | 5553 | -4756 | 0.20504 | 463 | 0 | 0
4/26/2024 | 8 | 72837 | 11024 | -9768 | 12633 | 4718 | -4181 | 0.17775 | 303 | 0 | 0
4/26/2024 | 9 | 73794 | 10999 | -10347 | 11245 | 4708 | -4429 | 0.1548 | 0 | 0 | 0
4/26/2024 | 10 | 73677 | 10986 | -10464 | 11292 | 4702 | -4479 | 0.15519 | 0 | 0 | 0
4/26/2024 | 11 | 71972 | 11159 | -10689 | 10882 | 4776 | -4575 | 0.15299 | 0 | 0 | 0
4/26/2024 | 12 | 71012 | 11313 | -10809 | 10955 | 4842 | -4626 | 0.1562 | 0 | 0 | 0
4/26/2024 | 13 | 68871 | 11405 | -10653 | 10118 | 4881 | -4560 | 0.14994 | 0 | 0 | 0
4/26/2024 | 14 | 68700 | 11169 | -10553 | 10430 | 4780 | -4517 | 0.15426 | 0 | 0 | 0
4/26/2024 | 15 | 67807 | 10656 | -10077 | 9690 | 4561 | -4313 | 0.14532 | 0 | 0 | 0
4/26/2024 | 16 | 67791 | 10540 | -9926 | 10009 | 4511 | -4248 | 0.15016 | 0 | 0 | 0
4/26/2024 | 17 | 68706 | 11213 | -10096 | 10011 | 4799 | -4321 | 0.15022 | 0 | 0 | 0
4/26/2024 | 18 | 70784 | 11340 | -9505 | 10808 | 4853 | -4068 | 0.15964 | 0 | 0 | 0
4/26/2024 | 19 | 72063 | 13974 | -11758 | 12399 | 5981 | -5032 | 0.1797 | 0 | 0 | 0
4/26/2024 | 20 | 73179 | 14705 | -12302 | 13998 | 6294 | -5265 | 0.19882 | 101 | 0 | 0
4/26/2024 | 21 | 73074 | 14964 | -12578 | 14349 | 6404 | -5383 | 0.20368 | 377 | 0 | 0
4/26/2024 | 22 | 71617 | 14981 | -12607 | 14227 | 6412 | -5396 | 0.20601 | 426 | 1 | 0.0023474
4/26/2024 | 23 | 68917 | 15449 | -13240 | 14228 | 6612 | -5667 | 0.21333 | 248 | 0 | 0
4/26/2024 | 24 | 64788 | 15642 | -13187 | 13869 | 6695 | -5644 | 0.22188 | 157 | 0 | 0
4/27/2024 | 1 | 62007 | 14605 | -12316 | 12976 | 6251 | -5271 | 0.21706 | 215 | 1 | 0.0046512
4/27/2024 | 2 | 60488 | 14245 | -12223 | 12634 | 6097 | -5231 | 0.21597 | 226 | 0 | 0
4/27/2024 | 3 | 59007 | 14329 | -12284 | 12311 | 6133 | -5257 | 0.216 | 197 | 0 | 0
4/27/2024 | 4 | 58663 | 14119 | -12111 | 12255 | 6043 | -5184 | 0.21615 | 256 | 0 | 0
4/27/2024 | 5 | 58990 | 13980 | -11904 | 12151 | 5983 | -5095 | 0.21352 | 123 | 0 | 0
4/27/2024 | 6 | 60194 | 14383 | -12027 | 12480 | 6156 | -5147 | 0.21565 | 30 | 0 | 0
4/27/2024 | 7 | 61642 | 13057 | -10771 | 12006 | 5588 | -4610 | 0.2031 | 181 | 2 | 0.01105
4/27/2024 | 8 | 63273 | 11009 | -9344 | 9273 | 4712 | -3999 | 0.15378 | 0 | 0 | 0
4/27/2024 | 9 | 64203 | 10874 | -10276 | 8455 | 4654 | -4398 | 0.13443 | 0 | 0 | 0
4/27/2024 | 10 | 63906 | 10714 | -10924 | 8316 | 4586 | -4675 | 0.12916 | 0 | 0 | 0
4/27/2024 | 11 | 62836 | 10559 | -10865 | 8217 | 4519 | -4650 | 0.12931 | 0 | 0 | 0
4/27/2024 | 12 | 61739 | 11103 | -11483 | 7903 | 4752 | -4915 | 0.12614 | 0 | 0 | 0
4/27/2024 | 13 | 61152 | 10766 | -11316 | 7793 | 4608 | -4843 | 0.12472 | 0 | 0 | 0
4/27/2024 | 14 | 61077 | 11599 | -12085 | 7617 | 4965 | -5172 | 0.1223 | 0 | 0 | 0
4/27/2024 | 15 | 61523 | 11097 | -11576 | 7709 | 4749 | -4955 | 0.12291 | 0 | 0 | 0
4/27/2024 | 16 | 63009 | 10975 | -11111 | 7758 | 4697 | -4756 | 0.12245 | 0 | 0 | 0
4/27/2024 | 17 | 65650 | 11923 | -11672 | 7981 | 5103 | -4995 | 0.12274 | 0 | 0 | 0
4/27/2024 | 18 | 67997 | 12122 | -10868 | 9105 | 5188 | -4651 | 0.13923 | 0 | 0 | 0
4/27/2024 | 19 | 70047 | 12158 | -9818 | 11576 | 5204 | -4202 | 0.17376 | 0 | 0 | 0
4/27/2024 | 20 | 72111 | 13095 | -10606 | 13707 | 5605 | -4539 | 0.19803 | 140 | 0 | 0
4/27/2024 | 21 | 71854 | 13663 | -10843 | 14034 | 5848 | -4641 | 0.2041 | 346 | 0 | 0
4/27/2024 | 22 | 70105 | 13332 | -10719 | 13371 | 5706 | -4588 | 0.19925 | 507 | 0 | 0
4/27/2024 | 23 | 67377 | 13949 | -11754 | 13612 | 5970 | -5031 | 0.20915 | 275 | 0 | 0
4/27/2024 | 24 | 64168 | 13838 | -11527 | 13628 | 5923 | -4933 | 0.21989 | 614 | 140 | 0.22801
4/28/2024 | 1 | 61645 | 11995 | -9638 | 13363 | 5134 | -4125 | 0.22456 | 1286 | 356 | 0.27683
4/28/2024 | 2 | 60021 | 11749 | -9572 | 13300 | 5028 | -4097 | 0.2288 | 1645 | 520 | 0.31611
4/28/2024 | 3 | 58697 | 12041 | -9780 | 12783 | 5154 | -4186 | 0.22558 | 1058 | 280 | 0.26465
4/28/2024 | 4 | 58298 | 12069 | -9718 | 12823 | 5166 | -4159 | 0.22803 | 1189 | 313 | 0.26325
4/28/2024 | 5 | 58418 | 12140 | -9808 | 12852 | 5196 | -4198 | 0.22798 | 1129 | 283 | 0.25066
4/28/2024 | 6 | 59241 | 12250 | -9827 | 12958 | 5243 | -4206 | 0.22696 | 901 | 217 | 0.24084
4/28/2024 | 7 | 60415 | 12042 | -9755 | 12130 | 5154 | -4175 | 0.20907 | 807 | 197 | 0.24411
4/28/2024 | 8 | 60776 | 10654 | -9059 | 9407 | 4560 | -3877 | 0.16177 | 0 | 0 | 0
4/28/2024 | 9 | 61641 | 10685 | -10358 | 8522 | 4573 | -4433 | 0.13978 | 0 | 0 | 0
4/28/2024 | 10 | 61396 | 10017 | -10440 | 8025 | 4287 | -4468 | 0.12865 | 0 | 0 | 0
4/28/2024 | 11 | 60091 | 9937 | -10249 | 7909 | 4253 | -4387 | 0.13006 | 0 | 0 | 0
4/28/2024 | 12 | 59084 | 10619 | -10597 | 7973 | 4545 | -4535 | 0.13506 | 0 | 0 | 0
4/28/2024 | 13 | 59541 | 10559 | -10744 | 7911 | 4519 | -4598 | 0.13195 | 0 | 0 | 0
4/28/2024 | 14 | 60320 | 10425 | -10769 | 7995 | 4462 | -4609 | 0.13085 | 0 | 0 | 0
4/28/2024 | 15 | 61451 | 10380 | -10755 | 8098 | 4443 | -4603 | 0.12997 | 0 | 0 | 0
4/28/2024 | 16 | 64023 | 10632 | -11251 | 8064 | 4551 | -4815 | 0.12302 | 0 | 0 | 0
4/28/2024 | 17 | 67474 | 11496 | -12092 | 8584 | 4920 | -5175 | 0.12454 | 0 | 0 | 0
4/28/2024 | 18 | 71495 | 10990 | -10842 | 9695 | 4704 | -4640 | 0.13622 | 0 | 0 | 0
4/28/2024 | 19 | 73255 | 13121 | -12133 | 12302 | 5616 | -5193 | 0.1714 | 5 | 0 | 0
4/28/2024 | 20 | 75422 | 14072 | -12803 | 14844 | 6023 | -5479 | 0.20065 | 101 | 0 | 0
4/28/2024 | 21 | 75709 | 14179 | -12546 | 15095 | 6069 | -5369 | 0.20422 | 115 | 0 | 0
4/28/2024 | 22 | 73226 | 13868 | -12138 | 15005 | 5935 | -5195 | 0.21006 | 364 | 0 | 0
4/28/2024 | 23 | 68075 | 13865 | -11739 | 14770 | 5934 | -5024 | 0.22336 | 275 | 0 | 0
4/28/2024 | 24 | 63806 | 13352 | -11140 | 14209 | 5715 | -4768 | 0.22957 | 237 | 0 | 0
4/29/2024 | 1 | 60646 | 12061 | -10297 | 13373 | 5162 | -4407 | 0.22637 | 368 | 12 | 0.032609
4/29/2024 | 2 | 58682 | 11454 | -9386 | 13449 | 4902 | -4017 | 0.23595 | 408 | 24 | 0.058824
4/29/2024 | 3 | 57763 | 11389 | -9111 | 13102 | 4874 | -3899 | 0.23446 | 387 | 24 | 0.062016
4/29/2024 | 4 | 58068 | 11057 | -8893 | 13168 | 4732 | -3806 | 0.234 | 311 | 4 | 0.012862
4/29/2024 | 5 | 60020 | 10982 | -8962 | 13607 | 4700 | -3836 | 0.23325 | 182 | 0 | 0
4/29/2024 | 6 | 64857 | 11287 | -9398 | 14160 | 4831 | -4023 | 0.22425 | 77 | 0 | 0
4/29/2024 | 7 | 69362 | 10891 | -8817 | 13594 | 4661 | -3774 | 0.20271 | 279 | 7 | 0.02509
4/29/2024 | 8 | 72257 | 10855 | -9163 | 10264 | 4646 | -3922 | 0.14859 | 61 | 0 | 0
4/29/2024 | 9 | 72805 | 12360 | -11404 | 8333 | 5290 | -4881 | 0.11852 | 0 | 0 | 0
4/29/2024 | 10 | 71131 | 12608 | -12397 | 7365 | 5396 | -5306 | 0.1045 | 0 | 0 | 0
4/29/2024 | 11 | 69803 | 12676 | -12843 | 7306 | 5425 | -5497 | 0.10388 | 0 | 0 | 0
4/29/2024 | 12 | 69254 | 13072 | -13162 | 7299 | 5595 | -5633 | 0.10498 | 0 | 0 | 0
4/29/2024 | 13 | 69349 | 13524 | -13579 | 7309 | 5788 | -5812 | 0.10513 | 0 | 0 | 0
4/29/2024 | 14 | 69646 | 13014 | -13342 | 7344 | 5570 | -5710 | 0.10393 | 0 | 0 | 0
4/29/2024 | 15 | 70432 | 13012 | -13559 | 7391 | 5569 | -5803 | 0.10241 | 0 | 0 | 0
4/29/2024 | 16 | 72918 | 12631 | -13138 | 7842 | 5406 | -5623 | 0.1053 | 0 | 0 | 0
4/29/2024 | 17 | 75414 | 13583 | -13573 | 8577 | 5813 | -5809 | 0.11377 | 0 | 0 | 0
4/29/2024 | 18 | 77831 | 13950 | -13103 | 9997 | 5971 | -5608 | 0.13168 | 0 | 0 | 0
4/29/2024 | 19 | 80280 | 14444 | -13159 | 12820 | 6182 | -5632 | 0.16392 | 28 | 0 | 0
4/29/2024 | 20 | 80583 | 14694 | -13226 | 15434 | 6289 | -5661 | 0.19576 | 179 | 0 | 0
4/29/2024 | 21 | 80202 | 13841 | -12114 | 15616 | 5924 | -5185 | 0.19962 | 242 | 0 | 0
4/29/2024 | 22 | 76422 | 13589 | -11379 | 15156 | 5816 | -4870 | 0.20478 | 272 | 1 | 0.0036765
4/29/2024 | 23 | 71872 | 12851 | -11142 | 14877 | 5500 | -4769 | 0.21212 | 90 | 0 | 0
4/29/2024 | 24 | 67535 | 11779 | -10245 | 14056 | 5041 | -4385 | 0.213 | 277 | 0 | 0
4/30/2024 | 1 | 64464 | 12149 | -10146 | 14088 | 5200 | -4342 | 0.22486 | 144 | 0 | 0
4/30/2024 | 2 | 62862 | 11361 | -9634 | 14018 | 4862 | -4123 | 0.22848 | 4 | 0 | 0
4/30/2024 | 3 | 61567 | 11687 | -9856 | 13897 | 5002 | -4219 | 0.23155 | 0 | 0 | 0
4/30/2024 | 4 | 61427 | 11795 | -9903 | 14147 | 5048 | -4238 | 0.23622 | 0 | 0 | 0
4/30/2024 | 5 | 63008 | 12042 | -10011 | 14646 | 5154 | -4285 | 0.23855 | 0 | 0 | 0
4/30/2024 | 6 | 67145 | 12394 | -10022 | 14007 | 5304 | -4289 | 0.21609 | 0 | 0 | 0
4/30/2024 | 7 | 71111 | 13760 | -11121 | 13527 | 5889 | -4760 | 0.19873 | 405 | 25 | 0.061728
4/30/2024 | 8 | 73914 | 12589 | -10751 | 10711 | 5388 | -4601 | 0.15178 | 285 | 53 | 0.18596
4/30/2024 | 9 | 74079 | 12985 | -11947 | 8623 | 5557 | -5113 | 0.12071 | 0 | 0 | 0
4/30/2024 | 10 | 72735 | 13035 | -12224 | 8186 | 5579 | -5232 | 0.11602 | 0 | 0 | 0
4/30/2024 | 11 | 71507 | 13217 | -12671 | 8084 | 5657 | -5423 | 0.11544 | 0 | 0 | 0
4/30/2024 | 12 | 69852 | 13780 | -12938 | 8091 | 5898 | -5537 | 0.11956 | 0 | 0 | 0
4/30/2024 | 13 | 69801 | 14063 | -13238 | 8245 | 6019 | -5666 | 0.12174 | 0 | 0 | 0
4/30/2024 | 14 | 70630 | 13845 | -13252 | 8861 | 5926 | -5672 | 0.12798 | 0 | 0 | 0
4/30/2024 | 15 | 71234 | 14302 | -13621 | 8984 | 6121 | -5830 | 0.12897 | 0 | 0 | 0
4/30/2024 | 16 | 73263 | 14660 | -13859 | 9368 | 6274 | -5932 | 0.1311 | 0 | 0 | 0
4/30/2024 | 17 | 76351 | 15493 | -14864 | 10276 | 6631 | -6362 | 0.13698 | 0 | 0 | 0
4/30/2024 | 18 | 79283 | 14718 | -13498 | 11802 | 6299 | -5777 | 0.15309 | 0 | 0 | 0
4/30/2024 | 19 | 80048 | 14535 | -12777 | 14713 | 6221 | -5469 | 0.18904 | 37 | 0 | 0
4/30/2024 | 20 | 81043 | 14953 | -13337 | 17063 | 6400 | -5708 | 0.2148 | 179 | 0 | 0
4/30/2024 | 21 | 80485 | 14795 | -12981 | 17539 | 6332 | -5556 | 0.22254 | 248 | 0 | 0
4/30/2024 | 22 | 77497 | 14503 | -12412 | 17072 | 6207 | -5312 | 0.22575 | 363 | 4 | 0.011019
4/30/2024 | 23 | 73206 | 13221 | -11430 | 16563 | 5659 | -4892 | 0.23108 | 222 | 5 | 0.022523
4/30/2024 | 24 | 68652 | 12734 | -10805 | 16016 | 5450 | -4625 | 0.23861 | 546 | 129 | 0.23626